## Run 1 (100%)
Time | Sample Number | Temp T1 [°C] | Temp T2 [°C] | Temp T3 [°C] | Temp T4 [°C] | Temp T5 [°C] | Temp T6 [°C] | Temp T7 [°C] | Temp T8 [°C] | Temp T9 [°C] | Temp T10 [°C] | Hot Water Pump Setting [%] | Hot Water Flowrate Fhot [l/min] | Cold Water Valve Setting [%] | Cold Water Flowrate Fcold [l/min] | Pump Direction | Flow Orientation | Specific Heat Hot Fluid Cph [kJ/kg K] | Specific Heat Cold Fluid Cpc [kJ/kg K] | Hot fluid Average Temperature [°C] | Density Hot Fluid [kg/m³] | Cold Fluid Average Temperature [°C] | Density Cold Fluid [kg/m³] | Hot Fluid Change Thot [°C] | Cold Fluid Change Tcold [°C] | Hot Mass Flow Rate qmh [kg/s] | Cold Mass Flow Rate qmc [kg/s] | Heat Power emitted Qe [W] | Heat Power absorbed Qa [W] | Heat Power lost Qf [W] | Overall Efficiency [%] | Temp Efficiency for hot fluid [%] | Temp Efficiency for cold fluid [%] | Mean Temp Efficiency [%] |  | LMTD | Overall Heat Transfer Coefficient U | ΔT1 | ΔT2 | ΔTlm | Hot Fluid Volume Vdot Hot | Cold Fluid Volume Vdot Cold
| 1 | 50.3296 | 47.5046 | 44.5173 | 20.3591 | 23.2166 | 26.074 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 29 | 2.4902 | 100 | 2.5391 | 1 | Countercurrent | 4.1797 | 4.18 | 47.4505 | 989.1564 | 23.2166 | 997.4968 | 5.8123 | 5.7148 | 0.041054 | 0.042212 | 0.99734 | 1.0083 | -0.011005 | 101.1034 | 23.9625 | 19.0683 | 21.5154 | 1.004 | 24.2069 | 2.06 | 24.1582 | 24.2556 | 24.2069 | 4.1512e-05 | 4.2326e-05
| 2 | 50.2646 | 47.4397 | 44.4524 | 20.3916 | 23.1841 | 26.0415 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5269 | 100 | 2.5635 | 1 | Countercurrent | 4.1797 | 4.18 | 47.3856 | 989.1846 | 23.2057 | 997.4994 | 5.8123 | 5.6499 | 0.041659 | 0.042618 | 1.012 | 1.0065 | 0.0055563 | 99.451 | 23.9946 | 18.913 | 21.4538 | 1.0067 | 24.1419 | 2.096 | 24.0608 | 24.2231 | 24.1419 | 4.2123e-05 | 4.2733e-05
| 3 | 50.3621 | 47.5046 | 44.5173 | 20.3591 | 23.1841 | 26.074 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5635 | 100 | 2.478 | 1 | Countercurrent | 4.1797 | 4.18 | 47.4613 | 989.1517 | 23.2057 | 997.4994 | 5.8447 | 5.7148 | 0.042261 | 0.041197 | 1.0324 | 0.98411 | 0.048296 | 95.322 | 24.0642 | 19.0476 | 21.5559 | 1.0054 | 24.2231 | 2.131 | 24.1582 | 24.2881 | 24.2231 | 4.2733e-05 | 4.1309e-05
| 4 | 50.1348 | 47.3098 | 44.355 | 20.3916 | 23.1516 | 26.0415 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 29 | 2.478 | 100 | 2.6001 | 1 | Countercurrent | 4.1797 | 4.18 | 47.2665 | 989.2363 | 23.1949 | 997.502 | 5.7798 | 5.6499 | 0.040856 | 0.043227 | 0.98698 | 1.0209 | -0.033882 | 103.4329 | 23.9892 | 18.9956 | 21.4924 | 1.0054 | 24.0283 | 2.0538 | 23.9634 | 24.0933 | 24.0283 | 4.1309e-05 | 4.3344e-05
| 5 | 50.0374 | 47.3098 | 44.355 | 20.3916 | 23.1841 | 26.1064 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.478 | 100 | 2.5513 | 1 | Countercurrent | 4.1797 | 4.18 | 47.234 | 989.2504 | 23.2274 | 997.4943 | 5.6824 | 5.7148 | 0.040856 | 0.042415 | 0.97036 | 1.0132 | -0.042836 | 104.4145 | 23.7449 | 19.2771 | 21.511 | 0.99864 | 23.9471 | 2.026 | 23.9634 | 23.9309 | 23.9471 | 4.1309e-05 | 4.253e-05
| 6 | 49.8425 | 47.0825 | 44.2251 | 20.3591 | 23.1191 | 26.009 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5757 | 100 | 2.5391 | 1 | Countercurrent | 4.1796 | 4.18 | 47.05 | 989.3301 | 23.1624 | 997.5098 | 5.6174 | 5.6499 | 0.04247 | 0.042212 | 0.99714 | 0.99691 | 0.00023136 | 99.9768 | 23.5695 | 19.163 | 21.3662 | 0.99864 | 23.8497 | 2.0905 | 23.866 | 23.8335 | 23.8497 | 4.2937e-05 | 4.2326e-05
| 7 | 49.9399 | 47.1799 | 44.2251 | 20.3591 | 23.1191 | 26.0415 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4536 | 100 | 2.6123 | 1 | Countercurrent | 4.1796 | 4.18 | 47.115 | 989.302 | 23.1733 | 997.5072 | 5.7148 | 5.6824 | 0.040456 | 0.04343 | 0.96633 | 1.0316 | -0.065226 | 106.7499 | 23.913 | 19.2097 | 21.5614 | 1.0014 | 23.8822 | 2.0231 | 23.866 | 23.8984 | 23.8822 | 4.0902e-05 | 4.3547e-05
| 8 | 50.0374 | 47.1799 | 44.29 | 20.3916 | 23.1841 | 26.009 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5513 | 100 | 2.5757 | 1 | Countercurrent | 4.1796 | 4.18 | 47.1691 | 989.2785 | 23.1949 | 997.502 | 5.7473 | 5.6174 | 0.042065 | 0.042821 | 1.0105 | 1.0055 | 0.0050156 | 99.5036 | 23.9189 | 18.9485 | 21.4337 | 1.0054 | 23.9633 | 2.1084 | 23.8984 | 24.0283 | 23.9633 | 4.253e-05 | 4.2937e-05
| 9 | 49.9075 | 47.1475 | 44.2251 | 20.3916 | 23.1841 | 26.009 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5879 | 100 | 2.5024 | 1 | Countercurrent | 4.1796 | 4.18 | 47.0933 | 989.3113 | 23.1949 | 997.502 | 5.6824 | 5.6174 | 0.04267 | 0.041603 | 1.0134 | 0.97687 | 0.036559 | 96.3926 | 23.7772 | 19.0319 | 21.4045 | 1.0027 | 23.866 | 2.1232 | 23.8335 | 23.8984 | 23.866 | 4.314e-05 | 4.1716e-05
| 10 | 49.7451 | 47.0176 | 44.0952 | 20.3916 | 23.1841 | 25.9766 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5024 | 100 | 2.5635 | 1 | Countercurrent | 4.1796 | 4.18 | 46.9526 | 989.3721 | 23.1841 | 997.5046 | 5.6499 | 5.585 | 0.041264 | 0.042618 | 0.97442 | 0.99492 | -0.020497 | 102.1035 | 23.7705 | 19.0265 | 21.3985 | 1.0027 | 23.7361 | 2.0526 | 23.7036 | 23.7686 | 23.7361 | 4.1716e-05 | 4.2733e-05
| 11 | 49.7776 | 47.05 | 44.1926 | 20.4241 | 23.1841 | 26.009 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4902 | 100 | 2.7222 | 1 | Countercurrent | 4.1796 | 4.18 | 47.0068 | 989.3488 | 23.2057 | 997.4994 | 5.585 | 5.585 | 0.041062 | 0.045256 | 0.9585 | 1.0565 | -0.097998 | 110.2241 | 23.4973 | 19.0265 | 21.2619 | 1 | 0 | 2.0137 | 23.7686 | 23.7686 | 23.8 | 4.1512e-05 | 4.5379e-05
| 12 | 49.6477 | 46.9526 | 44.0627 | 20.4241 | 23.1841 | 25.9766 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4292 | 100 | 2.6001 | 1 | Countercurrent | 4.1796 | 4.18 | 46.8877 | 989.4002 | 23.1949 | 997.502 | 5.585 | 5.5525 | 0.040058 | 0.043227 | 0.93505 | 1.0033 | -0.068209 | 107.2946 | 23.594 | 19 | 21.297 | 1.0014 | 23.6549 | 1.9764 | 23.6387 | 23.6711 | 23.6549 | 4.0495e-05 | 4.3344e-05
| 13 | 49.7126 | 46.9851 | 44.0627 | 20.4241 | 23.1841 | 26.009 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4658 | 100 | 2.478 | 1 | Countercurrent | 4.1796 | 4.18 | 46.9202 | 989.3862 | 23.2057 | 997.4994 | 5.6499 | 5.585 | 0.040661 | 0.041197 | 0.96017 | 0.96175 | -0.0015742 | 100.164 | 23.8356 | 19.0687 | 21.4522 | 1.0027 | 23.6711 | 2.0282 | 23.6387 | 23.7036 | 23.6711 | 4.1105e-05 | 4.1309e-05
| 14 | 49.7776 | 46.9851 | 44.1277 | 20.4241 | 23.2166 | 26.0415 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 29 | 2.4292 | 100 | 2.6367 | 1 | Countercurrent | 4.1796 | 4.18 | 46.9635 | 989.3675 | 23.2274 | 997.4943 | 5.6499 | 5.6174 | 0.040056 | 0.043835 | 0.9459 | 1.0293 | -0.083382 | 108.8151 | 23.803 | 19.1372 | 21.4701 | 1.0014 | 23.7198 | 1.9939 | 23.7036 | 23.7361 | 23.7198 | 4.0495e-05 | 4.3954e-05
| 15 | 49.9075 | 47.115 | 44.1926 | 20.4241 | 23.1841 | 26.009 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5146 | 100 | 2.417 | 1 | Countercurrent | 4.1796 | 4.18 | 47.0717 | 989.3207 | 23.2057 | 997.4994 | 5.7148 | 5.585 | 0.041463 | 0.040182 | 0.99038 | 0.93806 | 0.052326 | 94.7166 | 23.913 | 18.9427 | 21.4279 | 1.0055 | 23.8334 | 2.0777 | 23.7686 | 23.8984 | 23.8334 | 4.1919e-05 | 4.0291e-05
| 16 | 49.7451 | 46.9851 | 44.1602 | 20.4241 | 23.1516 | 26.0415 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5635 | 100 | 2.6733 | 1 | Countercurrent | 4.1796 | 4.18 | 46.9635 | 989.3675 | 23.2057 | 997.4994 | 5.585 | 5.6174 | 0.04227 | 0.044444 | 0.98671 | 1.0436 | -0.056872 | 105.7638 | 23.5616 | 19.1584 | 21.36 | 0.99863 | 23.7198 | 2.0799 | 23.7361 | 23.7036 | 23.7198 | 4.2733e-05 | 4.4565e-05
| 17 | 49.8101 | 47.0825 | 44.1926 | 20.4241 | 23.249 | 26.074 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4536 | 100 | 2.5146 | 1 | Countercurrent | 4.1796 | 4.18 | 47.0284 | 989.3394 | 23.249 | 997.4891 | 5.6174 | 5.6499 | 0.040458 | 0.041806 | 0.94989 | 0.98729 | -0.037404 | 103.9377 | 23.6662 | 19.2265 | 21.4464 | 0.99863 | 23.7523 | 1.9996 | 23.7686 | 23.7361 | 23.7523 | 4.0902e-05 | 4.1919e-05
| 18 | 49.7451 | 47.0176 | 44.0952 | 20.4565 | 23.2166 | 26.0415 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 29 | 2.4292 | 100 | 2.5024 | 1 | Countercurrent | 4.1796 | 4.18 | 46.9526 | 989.3721 | 23.2382 | 997.4917 | 5.6499 | 5.585 | 0.040056 | 0.041603 | 0.9459 | 0.97121 | -0.025311 | 102.6758 | 23.8356 | 19.0687 | 21.4522 | 1.0027 | 23.6711 | 1.998 | 23.6387 | 23.7036 | 23.6711 | 4.0495e-05 | 4.1716e-05
| 19 | 49.9075 | 47.2124 | 44.3225 | 20.4565 | 23.2815 | 26.1064 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5635 | 100 | 2.6001 | 1 | Countercurrent | 4.1796 | 4.1799 | 47.1475 | 989.2879 | 23.2815 | 997.4813 | 5.585 | 5.6499 | 0.042267 | 0.043226 | 0.98664 | 1.0208 | -0.03419 | 103.4653 | 23.4652 | 19.1841 | 21.3247 | 0.99728 | 23.8335 | 2.0699 | 23.866 | 23.801 | 23.8335 | 4.2733e-05 | 4.3344e-05
| 20 | 49.9399 | 47.1799 | 44.1602 | 20.4565 | 23.2166 | 26.0415 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4902 | 100 | 2.5024 | 1 | Countercurrent | 4.1796 | 4.18 | 47.0933 | 989.3113 | 23.2382 | 997.4917 | 5.7798 | 5.585 | 0.04106 | 0.041603 | 0.99191 | 0.97121 | 0.020694 | 97.9137 | 24.1848 | 18.9427 | 21.5638 | 1.0082 | 23.8009 | 2.0838 | 23.7036 | 23.8984 | 23.8009 | 4.1512e-05 | 4.1716e-05
| 21 | 50.0049 | 47.2449 | 44.3225 | 20.4565 | 23.314 | 26.1389 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4902 | 100 | 2.5391 | 1 | Countercurrent | 4.1796 | 4.1799 | 47.1908 | 989.2692 | 23.3031 | 997.4761 | 5.6824 | 5.6824 | 0.041059 | 0.042211 | 0.97515 | 1.0026 | -0.027438 | 102.8137 | 23.8095 | 19.2308 | 21.5201 | 1 | 0 | 2.0401 | 23.866 | 23.866 | 23.9 | 4.1512e-05 | 4.2326e-05
| 22 | 49.9075 | 47.115 | 44.2251 | 20.4565 | 23.1841 | 26.0415 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5146 | 100 | 2.6367 | 1 | Countercurrent | 4.1796 | 4.18 | 47.0825 | 989.316 | 23.2274 | 997.4943 | 5.6824 | 5.585 | 0.041463 | 0.043835 | 0.98475 | 1.0233 | -0.038576 | 103.9173 | 23.8095 | 18.9636 | 21.3866 | 1.0041 | 23.8172 | 2.0673 | 23.7686 | 23.866 | 23.8172 | 4.1919e-05 | 4.3954e-05
| 23 | 49.8425 | 47.05 | 44.1602 | 20.4565 | 23.2166 | 26.0415 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4902 | 100 | 2.5879 | 1 | Countercurrent | 4.1796 | 4.18 | 47.0176 | 989.3441 | 23.2382 | 997.4917 | 5.6824 | 5.585 | 0.041062 | 0.043023 | 0.97522 | 1.0044 | -0.029159 | 102.99 | 23.8745 | 19.0055 | 21.44 | 1.0041 | 23.7523 | 2.0529 | 23.7036 | 23.801 | 23.7523 | 4.1512e-05 | 4.314e-05
| 24 | 49.8101 | 46.9851 | 44.1277 | 20.489 | 23.2166 | 26.009 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5024 | 100 | 2.5879 | 1 | Countercurrent | 4.1796 | 4.18 | 46.9743 | 989.3628 | 23.2382 | 997.4917 | 5.6824 | 5.52 | 0.041264 | 0.043023 | 0.98001 | 0.9927 | -0.012683 | 101.2942 | 23.8745 | 18.8261 | 21.3503 | 1.0069 | 23.7198 | 2.0658 | 23.6387 | 23.801 | 23.7198 | 4.1716e-05 | 4.314e-05
| 25 | 49.8101 | 47.05 | 44.1602 | 20.554 | 23.249 | 26.0415 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5269 | 100 | 2.5635 | 1 | Countercurrent | 4.1796 | 4.1799 | 47.0068 | 989.3488 | 23.2815 | 997.4813 | 5.6499 | 5.4875 | 0.041666 | 0.042617 | 0.98391 | 0.97753 | 0.0063746 | 99.3521 | 23.7705 | 18.7569 | 21.2637 | 1.0069 | 23.6873 | 2.0769 | 23.6062 | 23.7686 | 23.6873 | 4.2123e-05 | 4.2733e-05
| 26 | 49.7126 | 46.9851 | 44.0952 | 20.489 | 23.249 | 26.074 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 29 | 2.4536 | 100 | 2.5146 | 1 | Countercurrent | 4.1796 | 4.1799 | 46.931 | 989.3815 | 23.2707 | 997.4839 | 5.6174 | 5.585 | 0.040459 | 0.041805 | 0.94992 | 0.97594 | -0.026014 | 102.7385 | 23.7637 | 19.1111 | 21.4374 | 1.0014 | 23.6224 | 2.0106 | 23.6062 | 23.6387 | 23.6224 | 4.0902e-05 | 4.1919e-05
| 27 | 49.7776 | 47.05 | 44.1926 | 20.489 | 23.249 | 26.0415 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 29 | 2.3926 | 100 | 2.6367 | 1 | Countercurrent | 4.1796 | 4.1799 | 47.0068 | 989.3488 | 23.2598 | 997.4865 | 5.585 | 5.5525 | 0.039452 | 0.043835 | 0.92091 | 1.0174 | -0.096454 | 110.4738 | 23.5294 | 18.9579 | 21.2436 | 1.0014 | 23.7198 | 1.9412 | 23.7036 | 23.7361 | 23.7198 | 3.9884e-05 | 4.3954e-05
| 28 | 49.5828 | 46.8228 | 43.9653 | 20.489 | 23.1841 | 26.0415 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5391 | 100 | 2.5635 | 1 | Countercurrent | 4.1795 | 4.18 | 46.7903 | 989.4421 | 23.2382 | 997.4917 | 5.6174 | 5.5525 | 0.041871 | 0.042617 | 0.98306 | 0.98912 | -0.0060568 | 100.6161 | 23.8621 | 19.0848 | 21.4734 | 1.0028 | 23.5088 | 2.0908 | 23.4763 | 23.5413 | 23.5088 | 4.2326e-05 | 4.2733e-05
| 29 | 49.6477 | 46.9526 | 44.0627 | 20.489 | 23.249 | 26.0415 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4902 | 100 | 2.6367 | 1 | Countercurrent | 4.1796 | 4.1799 | 46.8877 | 989.4002 | 23.2598 | 997.4865 | 5.585 | 5.5525 | 0.041064 | 0.043835 | 0.95855 | 1.0174 | -0.058823 | 106.1367 | 23.6589 | 19.0423 | 21.3506 | 1.0014 | 23.59 | 2.0317 | 23.5737 | 23.6062 | 23.59 | 4.1512e-05 | 4.3954e-05
| 30 | 49.7126 | 46.9526 | 44.0627 | 20.489 | 23.2815 | 26.074 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 29 | 2.3926 | 100 | 2.6001 | 1 | Countercurrent | 4.1796 | 4.1799 | 46.9093 | 989.3908 | 23.2815 | 997.4813 | 5.6499 | 5.585 | 0.039453 | 0.043226 | 0.93166 | 1.0091 | -0.077441 | 108.3122 | 23.9011 | 19.1111 | 21.5061 | 1.0028 | 23.6062 | 1.9733 | 23.5737 | 23.6387 | 23.6062 | 3.9884e-05 | 4.3344e-05
| 31 | 49.7451 | 46.9526 | 44.0627 | 20.5215 | 23.249 | 26.0415 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5513 | 100 | 2.5024 | 1 | Countercurrent | 4.1796 | 4.1799 | 46.9202 | 989.3862 | 23.2707 | 997.4839 | 5.6824 | 5.52 | 0.04207 | 0.041602 | 0.99916 | 0.95991 | 0.039247 | 96.0719 | 23.9726 | 18.8889 | 21.4307 | 1.0069 | 23.6223 | 2.1149 | 23.5413 | 23.7036 | 23.6223 | 4.253e-05 | 4.1716e-05
| Average | 49.875 | 47.1098 | 44.2021 | 20.4356 | 23.2071 | 26.0426 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 29.7742 | 2.4961 | 100 | 2.5658 | 1 | Countercurrent | 4.1796 | 4.18 | 47.0623 | 989.3247 | 23.2284 | 997.494 | 5.6729 | 5.607 | 0.041158 | 0.042657 | 0.97594 | 0.99971 | -0.023766 | 102.5206 | 23.8035 | 19.0458 | 21.4242 | 1.0028 | 22.2628 | 2.05 | 23.7665 | 23.8324 | 23.8015 | 4.1611e-05 | 4.2773e-05
0
0
0
0

## Run 2 (75%)
Time | Sample Number | Temp T1 [°C] | Temp T2 [°C] | Temp T3 [°C] | Temp T4 [°C] | Temp T5 [°C] | Temp T6 [°C] | Temp T7 [°C] | Temp T8 [°C] | Temp T9 [°C] | Temp T10 [°C] | Hot Water Pump Setting [%] | Hot Water Flowrate Fhot [l/min] | Cold Water Valve Setting [%] | Cold Water Flowrate Fcold [l/min] | Pump Direction | Flow Orientation | Specific Heat Hot Fluid Cph [kJ/kg K] | Specific Heat Cold Fluid Cpc [kJ/kg K] | Hot fluid Average Temperature [°C] | Density Hot Fluid [kg/m³] | Cold Fluid Average Temperature [°C] | Density Cold Fluid [kg/m³] | Hot Fluid Change Thot [°C] | Cold Fluid Change Tcold [°C] | Hot Mass Flow Rate qmh [kg/s] | Cold Mass Flow Rate qmc [kg/s] | Heat Power emitted Qe [W] | Heat Power absorbed Qa [W] | Heat Power lost Qf [W] | Overall Efficiency [%] | Temp Efficiency for hot fluid [%] | Temp Efficiency for cold fluid [%] | Mean Temp Efficiency [%] |  | LMTD | Overall Heat Transfer Coefficient U | ΔT1 | ΔT2 | ΔTlm | Hot Fluid Volume Vdot Hot | Cold Fluid Volume Vdot Cold
| 1 | 51.4011 | 48.5762 | 45.6538 | 19.9695 | 23.1841 | 26.3987 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.478 | 75 | 2.3071 | 1 | Countercurrent | 4.18 | 4.18 | 48.5437 | 988.677 | 23.1841 | 997.5046 | 5.7473 | 6.4292 | 0.040833 | 0.038356 | 0.98096 | 1.0308 | -0.049823 | 105.079 | 22.987 | 20.4545 | 21.7208 | 0.97345 | 25.3419 | 1.9355 | 25.6843 | 25.0024 | 25.3419 | 4.1309e-05 | 3.846e-05
| 2 | 51.3037 | 48.5762 | 45.6213 | 20.002 | 23.1516 | 26.3987 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 31 | 2.5513 | 75 | 2.2827 | 1 | Countercurrent | 4.18 | 4.18 | 48.5004 | 988.6961 | 23.1841 | 997.5046 | 5.6824 | 6.3967 | 0.042041 | 0.03795 | 0.99856 | 1.0147 | -0.016165 | 101.6189 | 22.8162 | 20.4357 | 21.6259 | 0.97212 | 25.2605 | 1.9765 | 25.6194 | 24.905 | 25.2605 | 4.253e-05 | 3.8053e-05
| 3 | 51.3037 | 48.5437 | 45.6538 | 20.002 | 23.2166 | 26.3662 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5879 | 75 | 2.3804 | 1 | Countercurrent | 4.18 | 4.18 | 48.5004 | 988.6961 | 23.1949 | 997.502 | 5.6499 | 6.3643 | 0.042644 | 0.039574 | 1.0071 | 1.0528 | -0.045656 | 104.5334 | 22.6562 | 20.332 | 21.4941 | 0.97215 | 25.293 | 1.9909 | 25.6519 | 24.9375 | 25.293 | 4.314e-05 | 3.9681e-05
| 4 | 51.4336 | 48.6086 | 45.6863 | 20.002 | 23.1841 | 26.3662 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5513 | 75 | 2.3193 | 1 | Countercurrent | 4.18 | 4.18 | 48.5762 | 988.6627 | 23.1841 | 997.5046 | 5.7473 | 6.3643 | 0.042039 | 0.038559 | 1.0099 | 1.0258 | -0.015828 | 101.5672 | 22.9275 | 20.2479 | 21.5877 | 0.97598 | 25.3746 | 1.9901 | 25.6843 | 25.0674 | 25.3746 | 4.253e-05 | 3.8663e-05
| 5 | 51.3687 | 48.5112 | 45.5239 | 20.002 | 23.1516 | 26.3337 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4902 | 75 | 2.3315 | 1 | Countercurrent | 4.18 | 4.18 | 48.4679 | 988.7105 | 23.1624 | 997.5098 | 5.8447 | 6.3318 | 0.041035 | 0.038762 | 1.0025 | 1.0259 | -0.023385 | 102.3326 | 23.3463 | 20.1863 | 21.7663 | 0.98092 | 25.2777 | 1.983 | 25.522 | 25.0349 | 25.2777 | 4.1512e-05 | 3.8867e-05
| 6 | 51.3687 | 48.4788 | 45.5564 | 19.9695 | 23.1516 | 26.3337 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4414 | 75 | 2.2217 | 1 | Countercurrent | 4.18 | 4.18 | 48.4679 | 988.7105 | 23.1516 | 997.5123 | 5.8123 | 6.3643 | 0.040231 | 0.036936 | 0.97741 | 0.98259 | -0.0051781 | 100.5298 | 23.2166 | 20.2689 | 21.7427 | 0.97843 | 25.3099 | 1.9309 | 25.5869 | 25.0349 | 25.3099 | 4.0698e-05 | 3.7035e-05
| 7 | 51.2388 | 48.5112 | 45.5239 | 20.002 | 23.0867 | 26.3662 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4536 | 75 | 2.3682 | 1 | Countercurrent | 4.18 | 4.18 | 48.4246 | 988.7296 | 23.1516 | 997.5123 | 5.7148 | 6.3643 | 0.040433 | 0.039371 | 0.96585 | 1.0474 | -0.081524 | 108.4407 | 22.9765 | 20.3742 | 21.6754 | 0.97455 | 25.1959 | 1.9167 | 25.522 | 24.8726 | 25.1959 | 4.0902e-05 | 3.9477e-05
| 8 | 51.3687 | 48.5762 | 45.5564 | 20.002 | 23.0867 | 26.3662 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4536 | 75 | 2.3193 | 1 | Countercurrent | 4.18 | 4.18 | 48.5004 | 988.6961 | 23.1516 | 997.5123 | 5.8123 | 6.3643 | 0.040431 | 0.038559 | 0.98229 | 1.0258 | -0.043494 | 104.4278 | 23.2468 | 20.2899 | 21.7683 | 0.9784 | 25.2774 | 1.943 | 25.5544 | 25.0024 | 25.2774 | 4.0902e-05 | 3.8663e-05
| 9 | 51.3687 | 48.5762 | 45.5564 | 20.0344 | 23.1516 | 26.3337 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 29 | 2.478 | 75 | 2.3804 | 1 | Countercurrent | 4.18 | 4.18 | 48.5004 | 988.6961 | 23.1733 | 997.5072 | 5.8123 | 6.2993 | 0.040834 | 0.039574 | 0.99206 | 1.042 | -0.049964 | 105.0364 | 23.2166 | 20.1036 | 21.6601 | 0.98092 | 25.2777 | 1.9623 | 25.522 | 25.0349 | 25.2777 | 4.1309e-05 | 3.9681e-05
| 10 | 51.3687 | 48.6736 | 45.6538 | 20.002 | 23.1841 | 26.3987 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.6367 | 75 | 2.3804 | 1 | Countercurrent | 4.18 | 4.18 | 48.5653 | 988.6674 | 23.1949 | 997.502 | 5.7148 | 6.3967 | 0.043447 | 0.039574 | 1.0379 | 1.0581 | -0.020256 | 101.9517 | 22.8869 | 20.3934 | 21.6401 | 0.97342 | 25.3094 | 2.0504 | 25.6519 | 24.97 | 25.3094 | 4.3954e-05 | 3.9681e-05
| 11 | 51.5635 | 48.6411 | 45.5564 | 20.0344 | 23.1516 | 26.3987 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5146 | 75 | 2.356 | 1 | Countercurrent | 4.18 | 4.18 | 48.587 | 988.6579 | 23.1949 | 997.502 | 6.0071 | 6.3643 | 0.041435 | 0.039168 | 1.0404 | 1.042 | -0.0015298 | 100.147 | 23.871 | 20.1854 | 22.0282 | 0.98601 | 25.343 | 2.0527 | 25.522 | 25.1648 | 25.343 | 4.1919e-05 | 3.9274e-05
| 12 | 51.5959 | 48.7061 | 45.8162 | 20.0344 | 23.1841 | 26.3987 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4902 | 75 | 2.3804 | 1 | Countercurrent | 4.18 | 4.18 | 48.7061 | 988.6051 | 23.2057 | 997.4994 | 5.7798 | 6.3643 | 0.041031 | 0.039574 | 0.9913 | 1.0528 | -0.061455 | 106.1995 | 22.9381 | 20.1646 | 21.5514 | 0.97733 | 25.4884 | 1.9446 | 25.7817 | 25.1973 | 25.4884 | 4.1512e-05 | 3.9681e-05
| 13 | 51.4985 | 48.6736 | 45.6863 | 20.0344 | 23.1841 | 26.3987 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4536 | 75 | 2.3315 | 1 | Countercurrent | 4.18 | 4.18 | 48.6195 | 988.6435 | 23.2057 | 997.4994 | 5.8123 | 6.3643 | 0.040429 | 0.038762 | 0.98224 | 1.0312 | -0.048919 | 104.9803 | 23.1565 | 20.227 | 21.6918 | 0.97848 | 25.3749 | 1.9355 | 25.6519 | 25.0999 | 25.3749 | 4.0902e-05 | 3.8867e-05
| 14 | 51.3687 | 48.5762 | 45.6538 | 20.0669 | 23.1516 | 26.3662 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5269 | 75 | 2.356 | 1 | Countercurrent | 4.18 | 4.18 | 48.5329 | 988.6818 | 23.1949 | 997.502 | 5.7148 | 6.2993 | 0.041638 | 0.039168 | 0.99464 | 1.0313 | -0.036688 | 103.6885 | 22.8571 | 20.1245 | 21.4908 | 0.97716 | 25.2936 | 1.9662 | 25.5869 | 25.0024 | 25.2936 | 4.2123e-05 | 3.9274e-05
| 15 | 51.2388 | 48.3813 | 45.3616 | 20.0344 | 23.0867 | 26.3013 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 29 | 2.4536 | 75 | 2.356 | 1 | Countercurrent | 4.1799 | 4.18 | 48.3272 | 988.7726 | 23.1408 | 997.5149 | 5.8772 | 6.2668 | 0.040434 | 0.039168 | 0.99333 | 1.026 | -0.032705 | 103.2924 | 23.5677 | 20.0832 | 21.8255 | 0.98462 | 25.1318 | 1.9762 | 25.3271 | 24.9375 | 25.1318 | 4.0902e-05 | 3.9274e-05
| 16 | 51.2388 | 48.3489 | 45.3616 | 20.0344 | 23.1191 | 26.2039 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5146 | 75 | 2.417 | 1 | Countercurrent | 4.1799 | 4.18 | 48.3164 | 988.7773 | 23.1191 | 997.5201 | 5.8772 | 6.1694 | 0.04144 | 0.040183 | 1.018 | 1.0363 | -0.018218 | 101.7895 | 23.476 | 19.7711 | 21.6235 | 0.98846 | 25.1807 | 2.0215 | 25.3271 | 25.0349 | 25.1807 | 4.1919e-05 | 4.0291e-05
| 17 | 51.2712 | 48.3813 | 45.2642 | 20.0669 | 23.1191 | 26.2363 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4414 | 75 | 2.3804 | 1 | Countercurrent | 4.1799 | 4.18 | 48.3056 | 988.7821 | 23.1408 | 997.5149 | 6.0071 | 6.1694 | 0.040234 | 0.039574 | 1.0102 | 1.0205 | -0.010314 | 101.021 | 23.9948 | 19.7711 | 21.8829 | 0.99356 | 25.116 | 2.0111 | 25.1973 | 25.0349 | 25.116 | 4.0698e-05 | 3.9681e-05
| 18 | 51.2063 | 48.4138 | 45.4265 | 20.0669 | 23.1191 | 26.3013 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 31 | 2.478 | 75 | 2.3438 | 1 | Countercurrent | 4.1799 | 4.18 | 48.3489 | 988.763 | 23.1624 | 997.5098 | 5.7798 | 6.2344 | 0.040836 | 0.038965 | 0.98657 | 1.0154 | -0.028845 | 102.9237 | 23.2073 | 20.0209 | 21.6141 | 0.98207 | 25.1316 | 1.9628 | 25.3596 | 24.905 | 25.1316 | 4.1309e-05 | 3.907e-05
| 19 | 51.1089 | 48.2839 | 45.2317 | 20.0669 | 23.1516 | 26.2688 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4536 | 75 | 2.3438 | 1 | Countercurrent | 4.1799 | 4.18 | 48.2082 | 988.825 | 23.1624 | 997.5098 | 5.8772 | 6.2019 | 0.040437 | 0.038965 | 0.99337 | 1.0101 | -0.016759 | 101.6871 | 23.6601 | 19.9791 | 21.8196 | 0.9871 | 25.0021 | 1.9866 | 25.1648 | 24.8401 | 25.0021 | 4.0902e-05 | 3.907e-05
| 20 | 51.2063 | 48.4138 | 45.459 | 20.0669 | 23.1516 | 26.3013 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5879 | 75 | 2.3926 | 1 | Countercurrent | 4.18 | 4.18 | 48.3597 | 988.7582 | 23.1733 | 997.5072 | 5.7473 | 6.2344 | 0.042647 | 0.039777 | 1.0245 | 1.0366 | -0.012048 | 101.176 | 23.0769 | 20.0209 | 21.5489 | 0.98082 | 25.1478 | 2.037 | 25.3921 | 24.905 | 25.1478 | 4.314e-05 | 3.9884e-05
| 21 | 51.0764 | 48.2839 | 45.2966 | 20.0669 | 23.0867 | 26.2688 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4292 | 75 | 2.3804 | 1 | Countercurrent | 4.1799 | 4.18 | 48.219 | 988.8202 | 23.1408 | 997.5149 | 5.7798 | 6.2019 | 0.040034 | 0.039574 | 0.96718 | 1.0259 | -0.058739 | 106.0732 | 23.2984 | 20 | 21.6492 | 0.98327 | 25.0181 | 1.933 | 25.2297 | 24.8076 | 25.0181 | 4.0495e-05 | 3.9681e-05
| 22 | 50.979 | 48.2515 | 45.2966 | 20.0994 | 23.1191 | 26.2363 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5879 | 75 | 2.4414 | 1 | Countercurrent | 4.1799 | 4.18 | 48.1757 | 988.8393 | 23.1516 | 997.5123 | 5.6824 | 6.137 | 0.04265 | 0.040589 | 1.013 | 1.0412 | -0.028189 | 102.7827 | 22.9659 | 19.8738 | 21.4198 | 0.98196 | 24.9693 | 2.0285 | 25.1973 | 24.7427 | 24.9693 | 4.314e-05 | 4.0698e-05
| 23 | 50.9141 | 48.1216 | 45.1667 | 20.0994 | 23.1841 | 26.2688 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5146 | 75 | 2.4536 | 1 | Countercurrent | 4.1799 | 4.18 | 48.0675 | 988.8868 | 23.1841 | 997.5046 | 5.7473 | 6.1694 | 0.041445 | 0.040792 | 0.99564 | 1.0519 | -0.056299 | 105.6546 | 23.3202 | 20.0211 | 21.6706 | 0.98316 | 24.8557 | 2.0028 | 25.0674 | 24.6453 | 24.8557 | 4.1919e-05 | 4.0902e-05
| 24 | 51.0115 | 48.1865 | 45.2317 | 20.0994 | 23.1841 | 26.3337 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4902 | 75 | 2.3193 | 1 | Countercurrent | 4.1799 | 4.18 | 48.1432 | 988.8535 | 23.2057 | 997.4994 | 5.7798 | 6.2344 | 0.041041 | 0.038559 | 0.99151 | 1.0048 | -0.013315 | 101.3429 | 23.4211 | 20.1681 | 21.7946 | 0.98191 | 24.9043 | 1.9906 | 25.1323 | 24.6777 | 24.9043 | 4.1512e-05 | 3.8663e-05
| 25 | 50.9465 | 48.1541 | 45.1992 | 20.1318 | 23.1191 | 26.3013 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5513 | 75 | 2.3926 | 1 | Countercurrent | 4.1799 | 4.18 | 48.0999 | 988.8726 | 23.1841 | 997.5046 | 5.7473 | 6.1694 | 0.042048 | 0.039777 | 1.0101 | 1.0258 | -0.015645 | 101.5488 | 23.3202 | 20.0211 | 21.6706 | 0.98316 | 24.8557 | 2.032 | 25.0674 | 24.6453 | 24.8557 | 4.253e-05 | 3.9884e-05
| 26 | 51.1089 | 48.3164 | 45.3616 | 20.1318 | 23.1841 | 26.3337 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5146 | 75 | 2.3438 | 1 | Countercurrent | 4.1799 | 4.18 | 48.2623 | 988.8012 | 23.2166 | 997.4968 | 5.7473 | 6.2019 | 0.041441 | 0.038965 | 0.99556 | 1.0101 | -0.014549 | 101.4614 | 23.1979 | 20.021 | 21.6094 | 0.98198 | 25.0018 | 1.991 | 25.2297 | 24.7751 | 25.0018 | 4.1919e-05 | 3.907e-05
| 27 | 50.9465 | 48.2515 | 45.3291 | 20.1318 | 23.2166 | 26.3662 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4536 | 75 | 2.478 | 1 | Countercurrent | 4.1799 | 4.18 | 48.1757 | 988.8393 | 23.2382 | 997.4917 | 5.6174 | 6.2344 | 0.040437 | 0.041197 | 0.94948 | 1.0736 | -0.12409 | 113.0692 | 22.8534 | 20.2318 | 21.5426 | 0.97552 | 24.8875 | 1.9075 | 25.1973 | 24.5803 | 24.8875 | 4.0902e-05 | 4.1309e-05
| 28 | 50.9465 | 48.1216 | 45.2317 | 20.1643 | 23.1841 | 26.3337 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4902 | 75 | 2.3804 | 1 | Countercurrent | 4.1799 | 4.18 | 48.0999 | 988.8726 | 23.2274 | 997.4943 | 5.7148 | 6.1694 | 0.041042 | 0.039573 | 0.98039 | 1.0205 | -0.040132 | 104.0935 | 23.219 | 20.0422 | 21.6306 | 0.98187 | 24.8394 | 1.9735 | 25.0674 | 24.6128 | 24.8394 | 4.1512e-05 | 3.9681e-05
| 29 | 50.8491 | 48.1216 | 45.1667 | 20.1643 | 23.249 | 26.3662 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4902 | 75 | 2.4536 | 1 | Countercurrent | 4.1799 | 4.1799 | 48.0458 | 988.8963 | 23.2598 | 997.4865 | 5.6824 | 6.2019 | 0.041043 | 0.040791 | 0.97484 | 1.0574 | -0.082608 | 108.4741 | 23.2095 | 20.2116 | 21.7106 | 0.97922 | 24.7418 | 1.97 | 25.0024 | 24.4829 | 24.7418 | 4.1512e-05 | 4.0902e-05
| 30 | 50.8491 | 48.1216 | 45.2317 | 20.1643 | 23.1841 | 26.3662 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4902 | 75 | 2.4048 | 1 | Countercurrent | 4.1799 | 4.18 | 48.0675 | 988.8868 | 23.2382 | 997.4917 | 5.6174 | 6.2019 | 0.041043 | 0.039979 | 0.96369 | 1.0364 | -0.072721 | 107.5461 | 22.9443 | 20.2116 | 21.578 | 0.97668 | 24.774 | 1.945 | 25.0674 | 24.4829 | 24.774 | 4.1512e-05 | 4.0088e-05
| 31 | 50.7842 | 48.0242 | 45.1667 | 20.1643 | 23.249 | 26.3987 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4902 | 75 | 2.3193 | 1 | Countercurrent | 4.1799 | 4.1799 | 47.9917 | 988.9201 | 23.2707 | 997.4839 | 5.6174 | 6.2344 | 0.041044 | 0.038558 | 0.96372 | 1.0048 | -0.041089 | 104.2636 | 23.036 | 20.3606 | 21.6983 | 0.97532 | 24.6927 | 1.9514 | 25.0024 | 24.3855 | 24.6927 | 4.1512e-05 | 3.8663e-05
| 32 | 50.9465 | 48.219 | 45.3291 | 20.1643 | 23.1841 | 26.3662 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5146 | 75 | 2.417 | 1 | Countercurrent | 4.1799 | 4.18 | 48.1649 | 988.844 | 23.2382 | 997.4917 | 5.6174 | 6.2019 | 0.041443 | 0.040182 | 0.9731 | 1.0417 | -0.06857 | 107.0466 | 22.8534 | 20.1477 | 21.5005 | 0.97677 | 24.8714 | 1.9563 | 25.1648 | 24.5803 | 24.8714 | 4.1919e-05 | 4.0291e-05
| 33 | 50.7192 | 48.0242 | 45.1667 | 20.1643 | 23.2166 | 26.3662 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.417 | 75 | 2.3682 | 1 | Countercurrent | 4.1798 | 4.18 | 47.9701 | 988.9295 | 23.249 | 997.4891 | 5.5525 | 6.2019 | 0.039837 | 0.03937 | 0.92457 | 1.0206 | -0.096057 | 110.3894 | 22.8 | 20.2976 | 21.5488 | 0.97403 | 24.6763 | 1.8734 | 25.0024 | 24.353 | 24.6763 | 4.0291e-05 | 3.9477e-05
| 34 | 50.9141 | 48.1216 | 45.1992 | 20.1318 | 23.1841 | 26.3987 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.478 | 75 | 2.2949 | 1 | Countercurrent | 4.1799 | 4.18 | 48.0783 | 988.8821 | 23.2382 | 997.4917 | 5.7148 | 6.2668 | 0.040841 | 0.038153 | 0.97559 | 0.99942 | -0.023828 | 102.4424 | 23.3113 | 20.3586 | 21.835 | 0.97798 | 24.7904 | 1.9677 | 25.0674 | 24.5154 | 24.7904 | 4.1309e-05 | 3.8256e-05
| Average | 51.171 | 48.3756 | 45.417 | 20.0698 | 23.1621 | 26.3395 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4985 | 75 | 2.3646 | 1 | Countercurrent | 4.1799 | 4.18 | 48.3212 | 988.7751 | 23.1904 | 997.5031 | 5.754 | 6.2697 | 0.041174 | 0.039311 | 0.99022 | 1.0301 | -0.039841 | 104.0768 | 23.1722 | 20.1591 | 21.6652 | 0.97967 | 25.0884 | 1.9734 | 25.3472 | 24.8315 | 25.0884 | 4.165e-05 | 3.9417e-05
0

## Run 3 (50%)
Time | Sample Number | Temp T1 [°C] | Temp T2 [°C] | Temp T3 [°C] | Temp T4 [°C] | Temp T5 [°C] | Temp T6 [°C] | Temp T7 [°C] | Temp T8 [°C] | Temp T9 [°C] | Temp T10 [°C] | Hot Water Pump Setting [%] | Hot Water Flowrate Fhot [l/min] | Cold Water Valve Setting [%] | Cold Water Flowrate Fcold [l/min] | Pump Direction | Flow Orientation | Specific Heat Hot Fluid Cph [kJ/kg K] | Specific Heat Cold Fluid Cpc [kJ/kg K] | Hot fluid Average Temperature [°C] | Density Hot Fluid [kg/m³] | Cold Fluid Average Temperature [°C] | Density Cold Fluid [kg/m³] | Hot Fluid Change Thot [°C] | Cold Fluid Change Tcold [°C] | Hot Mass Flow Rate qmh [kg/s] | Cold Mass Flow Rate qmc [kg/s] | Heat Power emitted Qe [W] | Heat Power absorbed Qa [W] | Heat Power lost Qf [W] | Overall Efficiency [%] | Temp Efficiency for hot fluid [%] | Temp Efficiency for cold fluid [%] | Mean Temp Efficiency [%] |  | LMTD | Overall Heat Transfer Coefficient U | ΔT1 | ΔT2 | ΔTlm | Hot Fluid Volume Vdot Hot | Cold Fluid Volume Vdot Cold
| 1 | 51.0439 | 48.8035 | 46.1409 | 20.1968 | 24.1257 | 27.8923 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5513 | 50 | 1.6357 | 1 | Countercurrent | 4.18 | 4.1796 | 48.6628 | 988.6243 | 24.0716 | 997.2888 | 4.9031 | 7.6956 | 0.042037 | 0.027188 | 0.86156 | 0.87451 | -0.012948 | 101.5028 | 21.1781 | 24.9474 | 23.0627 | #NUM! | 0.058718 | 1.7568 | 25.9441 | 23.1516 | 24.5214 | 4.253e-05 | 2.7268e-05
| 2 | 50.7842 | 48.5437 | 46.1084 | 20.2617 | 24.0933 | 27.9573 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.478 | 50 | 1.5991 | 1 | Countercurrent | 4.18 | 4.1796 | 48.4788 | 988.7057 | 24.1041 | 997.2808 | 4.6758 | 7.6956 | 0.040834 | 0.02658 | 0.79809 | 0.85492 | -0.056831 | 107.1209 | 20.4836 | 25.2128 | 22.8482 | #NUM! | 0.05822 | 1.6418 | 25.8467 | 22.8269 | 24.3055 | 4.1309e-05 | 2.6657e-05
| 3 | 50.7842 | 48.5437 | 46.0435 | 20.2292 | 24.1257 | 27.9573 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5146 | 50 | 1.6113 | 1 | Countercurrent | 4.18 | 4.1796 | 48.4571 | 988.7153 | 24.1041 | 997.2808 | 4.7407 | 7.728 | 0.041438 | 0.026782 | 0.82114 | 0.86508 | -0.043942 | 105.3514 | 20.7681 | 25.2922 | 23.0302 | #NUM! | 0.058664 | 1.6903 | 25.8142 | 22.8269 | 24.2899 | 4.1919e-05 | 2.6861e-05
| 4 | 50.9141 | 48.6086 | 46.1084 | 20.2292 | 24.1257 | 27.9897 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 29 | 2.4292 | 50 | 1.5625 | 1 | Countercurrent | 4.18 | 4.1796 | 48.5437 | 988.677 | 24.1149 | 997.2781 | 4.8057 | 7.7605 | 0.040028 | 0.025971 | 0.80407 | 0.84239 | -0.038312 | 104.7648 | 20.9632 | 25.291 | 23.1271 | #NUM! | 0.056645 | 1.6496 | 25.8792 | 22.9243 | 24.3719 | 4.0495e-05 | 2.6047e-05
| 5 | 51.0115 | 48.7061 | 46.1409 | 20.2617 | 24.1257 | 28.0222 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4902 | 50 | 1.5381 | 1 | Countercurrent | 4.18 | 4.1796 | 48.6195 | 988.6435 | 24.1366 | 997.2727 | 4.8706 | 7.7605 | 0.041033 | 0.025565 | 0.83539 | 0.82922 | 0.0061735 | 99.261 | 21.1864 | 25.2376 | 23.212 | #NUM! | 0.055602 | 1.7115 | 25.8792 | 22.9893 | 24.4057 | 4.1512e-05 | 2.564e-05
| 6 | 51.1414 | 48.9333 | 46.3682 | 20.2942 | 24.2231 | 28.1196 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5879 | 50 | 1.6479 | 1 | Countercurrent | 4.1801 | 4.1796 | 48.8143 | 988.5571 | 24.2123 | 997.2539 | 4.7732 | 7.8254 | 0.042638 | 0.02739 | 0.85073 | 0.89586 | -0.045134 | 105.3054 | 20.7334 | 25.3684 | 23.0509 | #NUM! | 0.059488 | 1.735 | 26.074 | 23.0217 | 24.5162 | 4.314e-05 | 2.7471e-05
| 7 | 51.2063 | 48.9009 | 46.3032 | 20.2942 | 24.353 | 28.1196 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5879 | 50 | 1.6724 | 1 | Countercurrent | 4.1801 | 4.1796 | 48.8035 | 988.562 | 24.2556 | 997.2431 | 4.9031 | 7.8254 | 0.042638 | 0.027796 | 0.87388 | 0.90912 | -0.03524 | 104.0326 | 21.2377 | 25.3151 | 23.2764 | #NUM! | 0.060199 | 1.7821 | 26.009 | 23.0867 | 24.5188 | 4.314e-05 | 2.7878e-05
| 8 | 50.979 | 48.771 | 46.2058 | 20.2942 | 24.1907 | 27.8599 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5146 | 50 | 1.5991 | 1 | Countercurrent | 4.18 | 4.1796 | 48.6519 | 988.6291 | 24.1149 | 997.2781 | 4.7732 | 7.5657 | 0.041434 | 0.026579 | 0.8267 | 0.84049 | -0.013787 | 101.6677 | 20.6461 | 24.6561 | 22.6511 | #NUM! | 0.057484 | 1.6879 | 25.9116 | 23.1191 | 24.4889 | 4.1919e-05 | 2.6657e-05
| 9 | 51.0115 | 48.771 | 46.2058 | 20.2942 | 24.1257 | 27.9897 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 31 | 2.5757 | 50 | 1.6846 | 1 | Countercurrent | 4.18 | 4.1796 | 48.6628 | 988.6243 | 24.1366 | 997.2727 | 4.8057 | 7.6956 | 0.04244 | 0.028 | 0.85252 | 0.90059 | -0.048069 | 105.6385 | 20.8745 | 25.0529 | 22.9637 | #NUM! | 0.060811 | 1.7442 | 25.9116 | 23.0217 | 24.4382 | 4.2937e-05 | 2.8082e-05
| 10 | 50.9141 | 48.7385 | 46.2058 | 20.2942 | 24.1582 | 28.0222 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5757 | 50 | 1.5747 | 1 | Countercurrent | 4.18 | 4.1796 | 48.6195 | 988.6435 | 24.1582 | 997.2673 | 4.7083 | 7.728 | 0.042441 | 0.026173 | 0.83526 | 0.8454 | -0.010148 | 101.215 | 20.5674 | 25.2386 | 22.903 | #NUM! | 0.057168 | 1.7137 | 25.9116 | 22.8918 | 24.3706 | 4.2937e-05 | 2.625e-05
| 11 | 50.979 | 48.771 | 46.2058 | 20.4241 | 24.2231 | 28.0222 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4902 | 50 | 1.5747 | 1 | Countercurrent | 4.18 | 4.1796 | 48.6519 | 988.6291 | 24.2231 | 997.2512 | 4.7732 | 7.5981 | 0.041032 | 0.026173 | 0.81867 | 0.83118 | -0.012503 | 101.5272 | 20.7921 | 24.8672 | 22.8296 | #NUM! | 0.057005 | 1.6816 | 25.7817 | 22.9568 | 24.3419 | 4.1512e-05 | 2.625e-05
| 12 | 50.9465 | 48.7385 | 46.1733 | 20.2942 | 24.1907 | 28.0222 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5269 | 50 | 1.5991 | 1 | Countercurrent | 4.18 | 4.1796 | 48.6195 | 988.6435 | 24.169 | 997.2646 | 4.7732 | 7.728 | 0.041636 | 0.026579 | 0.83072 | 0.85851 | -0.027784 | 103.3445 | 20.8215 | 25.2119 | 23.0167 | #NUM! | 0.057971 | 1.7043 | 25.8792 | 22.9243 | 24.3719 | 4.2123e-05 | 2.6657e-05
| 13 | 50.9465 | 48.6411 | 46.0759 | 20.3267 | 24.1582 | 27.9897 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5513 | 50 | 1.5747 | 1 | Countercurrent | 4.18 | 4.1796 | 48.5545 | 988.6722 | 24.1582 | 997.2673 | 4.8706 | 7.6631 | 0.042039 | 0.026173 | 0.85589 | 0.8383 | 0.017589 | 97.9449 | 21.2164 | 25.0265 | 23.1215 | #NUM! | 0.057006 | 1.7592 | 25.7493 | 22.9568 | 24.3263 | 4.253e-05 | 2.625e-05
| 14 | 50.8816 | 48.6086 | 46.0759 | 20.3267 | 24.1582 | 27.9897 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 29 | 2.417 | 50 | 1.5747 | 1 | Countercurrent | 4.18 | 4.1796 | 48.5221 | 988.6866 | 24.1582 | 997.2673 | 4.8057 | 7.6631 | 0.039827 | 0.026173 | 0.80004 | 0.8383 | -0.038259 | 104.7821 | 20.9929 | 25.0797 | 23.0363 | #NUM! | 0.057168 | 1.6467 | 25.7493 | 22.8918 | 24.2926 | 4.0291e-05 | 2.625e-05
| 15 | 50.9141 | 48.6736 | 46.1733 | 20.3267 | 24.1907 | 27.9897 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.6245 | 50 | 1.5747 | 1 | Countercurrent | 4.18 | 4.1796 | 48.587 | 988.6579 | 24.169 | 997.2646 | 4.7407 | 7.6631 | 0.043246 | 0.026173 | 0.85697 | 0.8383 | 0.018674 | 97.821 | 20.6799 | 25.0531 | 22.8665 | #NUM! | 0.057086 | 1.7592 | 25.8467 | 22.9243 | 24.3563 | 4.3751e-05 | 2.625e-05
| 16 | 50.7842 | 48.5437 | 46.0759 | 20.2942 | 24.1907 | 27.9248 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.478 | 50 | 1.6357 | 1 | Countercurrent | 4.18 | 4.1796 | 48.4679 | 988.7105 | 24.1366 | 997.2727 | 4.7083 | 7.6306 | 0.040834 | 0.027188 | 0.80363 | 0.86711 | -0.063474 | 107.8984 | 20.5966 | 25.0266 | 22.8116 | #NUM! | 0.059468 | 1.6542 | 25.7817 | 22.8594 | 24.2913 | 4.1309e-05 | 2.7268e-05
| 17 | 51.0439 | 48.6736 | 46.1084 | 20.2942 | 24.1582 | 27.9248 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.356 | 50 | 1.6846 | 1 | Countercurrent | 4.18 | 4.1796 | 48.6086 | 988.6483 | 24.1257 | 997.2754 | 4.9355 | 7.6306 | 0.03882 | 0.028 | 0.80089 | 0.893 | -0.092107 | 111.5007 | 21.3483 | 24.8152 | 23.0818 | #NUM! | 0.060555 | 1.6383 | 25.8142 | 23.1191 | 24.4419 | 3.9274e-05 | 2.8082e-05
| 18 | 50.8491 | 48.5762 | 46.0435 | 20.3267 | 24.1907 | 28.0222 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4536 | 50 | 1.5869 | 1 | Countercurrent | 4.18 | 4.1796 | 48.4896 | 988.7009 | 24.1799 | 997.2619 | 4.8057 | 7.6956 | 0.040431 | 0.026376 | 0.81217 | 0.84837 | -0.036199 | 104.457 | 21.0526 | 25.2128 | 23.1327 | #NUM! | 0.057774 | 1.6751 | 25.7168 | 22.8269 | 24.2432 | 4.0902e-05 | 2.6454e-05
| 19 | 50.8816 | 48.6086 | 46.0435 | 20.3267 | 24.1582 | 27.9248 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5269 | 50 | 1.6113 | 1 | Countercurrent | 4.18 | 4.1796 | 48.5112 | 988.6914 | 24.1366 | 997.2727 | 4.8381 | 7.5981 | 0.041638 | 0.026782 | 0.84206 | 0.85053 | -0.0084706 | 101.0059 | 21.075 | 24.8672 | 22.9711 | #NUM! | 0.058332 | 1.7319 | 25.7168 | 22.9568 | 24.3107 | 4.2123e-05 | 2.6861e-05
| 20 | 50.9141 | 48.6736 | 46.1409 | 20.3267 | 24.1907 | 27.9897 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5269 | 50 | 1.6113 | 1 | Countercurrent | 4.18 | 4.1796 | 48.5762 | 988.6627 | 24.169 | 997.2646 | 4.7732 | 7.6631 | 0.041637 | 0.026782 | 0.83074 | 0.85779 | -0.027054 | 103.2566 | 20.8215 | 25.0531 | 22.9373 | #NUM! | 0.058414 | 1.7065 | 25.8142 | 22.9243 | 24.3407 | 4.2123e-05 | 2.6861e-05
| 21 | 50.979 | 48.6411 | 46.0759 | 20.3267 | 24.1907 | 28.0222 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 29 | 2.3926 | 50 | 1.5747 | 1 | Countercurrent | 4.18 | 4.1796 | 48.5653 | 988.6674 | 24.1799 | 997.2619 | 4.9031 | 7.6956 | 0.039424 | 0.026173 | 0.808 | 0.84185 | -0.033846 | 104.1889 | 21.3579 | 25.1059 | 23.2319 | #NUM! | 0.057005 | 1.6608 | 25.7493 | 22.9568 | 24.3263 | 3.9884e-05 | 2.625e-05
| 22 | 50.9465 | 48.6736 | 46.1409 | 20.3591 | 24.1907 | 28.0547 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.478 | 50 | 1.5381 | 1 | Countercurrent | 4.18 | 4.1796 | 48.587 | 988.6579 | 24.2015 | 997.2566 | 4.8057 | 7.6956 | 0.040832 | 0.025564 | 0.82022 | 0.82226 | -0.0020384 | 100.2485 | 20.9929 | 25.1592 | 23.0761 | #NUM! | 0.055837 | 1.6871 | 25.7817 | 22.8918 | 24.3082 | 4.1309e-05 | 2.564e-05
| 23 | 50.8167 | 48.5762 | 46.011 | 20.3591 | 24.1907 | 27.9897 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4902 | 50 | 1.6235 | 1 | Countercurrent | 4.18 | 4.1796 | 48.4679 | 988.7105 | 24.1799 | 997.2619 | 4.8057 | 7.6306 | 0.041035 | 0.026985 | 0.8243 | 0.86062 | -0.036323 | 104.4066 | 21.0526 | 25.0533 | 23.053 | #NUM! | 0.059108 | 1.7023 | 25.6519 | 22.8269 | 24.2119 | 4.1512e-05 | 2.7064e-05
| 24 | 50.8167 | 48.6086 | 46.0435 | 20.3591 | 24.1907 | 27.9897 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4902 | 50 | 1.5747 | 1 | Countercurrent | 4.18 | 4.1796 | 48.4896 | 988.7009 | 24.1799 | 997.2619 | 4.7732 | 7.6306 | 0.041035 | 0.026173 | 0.81872 | 0.83474 | -0.016016 | 101.9563 | 20.9104 | 25.0533 | 22.9818 | #NUM! | 0.05733 | 1.6897 | 25.6843 | 22.8269 | 24.2275 | 4.1512e-05 | 2.625e-05
| 25 | 50.8816 | 48.6411 | 46.0435 | 20.3267 | 24.1907 | 28.0222 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4902 | 50 | 1.6357 | 1 | Countercurrent | 4.18 | 4.1796 | 48.5221 | 988.6866 | 24.1799 | 997.2619 | 4.8381 | 7.6956 | 0.041034 | 0.027188 | 0.82985 | 0.87447 | -0.044621 | 105.377 | 21.1648 | 25.186 | 23.1754 | 1.5335 | 0.059467 | 1.7103 | 25.7168 | 22.8594 | 24.26 | 4.1512e-05 | 2.7268e-05
| 26 | 50.8816 | 48.5762 | 46.0759 | 20.3591 | 24.2231 | 28.0222 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5391 | 50 | 1.5991 | 1 | Countercurrent | 4.18 | 4.1796 | 48.5112 | 988.6914 | 24.2015 | 997.2566 | 4.8057 | 7.6631 | 0.041839 | 0.026579 | 0.84045 | 0.85128 | -0.010834 | 101.2891 | 21.0227 | 25.1064 | 23.0646 | 2.118 | 0.058136 | 1.7322 | 25.7168 | 22.8594 | 24.26 | 4.2326e-05 | 2.6657e-05
| 27 | 51.0115 | 48.8359 | 46.2383 | 20.3267 | 24.2231 | 28.0547 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.5513 | 50 | 1.6357 | 1 | Countercurrent | 4.18 | 4.1796 | 48.6952 | 988.6099 | 24.2015 | 997.2566 | 4.7732 | 7.728 | 0.042037 | 0.027188 | 0.83873 | 0.87816 | -0.039433 | 104.7015 | 20.7921 | 25.1852 | 22.9886 | 2.6863 | 0.059215 | 1.7184 | 25.9116 | 22.9568 | 24.4044 | 4.253e-05 | 2.7268e-05
| 28 | 50.7192 | 48.5112 | 46.0435 | 20.3591 | 24.2231 | 28.0222 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4902 | 50 | 1.6235 | 1 | Countercurrent | 4.18 | 4.1796 | 48.4246 | 988.7296 | 24.2015 | 997.2566 | 4.6758 | 7.6631 | 0.041036 | 0.026985 | 0.80204 | 0.86428 | -0.062245 | 107.7608 | 20.6009 | 25.2406 | 22.9208 | 3.076 | 0.059445 | 1.6598 | 25.6843 | 22.697 | 24.1599 | 4.1512e-05 | 2.7064e-05
| 29 | 50.8167 | 48.5762 | 45.946 | 20.3591 | 24.1907 | 27.9573 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 30 | 2.4902 | 50 | 1.5625 | 1 | Countercurrent | 4.18 | 4.1796 | 48.4463 | 988.72 | 24.169 | 997.2646 | 4.8706 | 7.5981 | 0.041036 | 0.02597 | 0.83545 | 0.82475 | 0.010699 | 98.7194 | 21.3068 | 24.9467 | 23.1268 | 3.6108 | 0.056805 | 1.7263 | 25.5869 | 22.8594 | 24.1975 | 4.1512e-05 | 2.6047e-05
| Average | 50.9241 | 48.6713 | 46.123 | 20.3121 | 24.1817 | 27.9953 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 29.931 | 2.5058 | 50 | 1.6042 | 1 | Countercurrent | 4.18 | 4.1796 | 48.5728 | 988.6641 | 24.1631 | 997.2661 | 4.8012 | 7.6832 | 0.04129 | 0.026663 | 0.82858 | 0.85625 | -0.027672 | 103.3809 | 20.9395 | 25.0988 | 23.0189 | #NUM! | 0.058142 | 1.7019 | 25.8108 | 22.9288 | 24.3414 | 4.1772e-05 | 2.6742e-05
0
0
0
0
0
0

## #4. Bar Graph
| emitted | absorbed
100% | 0.97594 | 0.99971
75% | 0.99022 | 1.0301
50% | 0.82858 | 0.85625

## #5a. Bar Graph
| Cold | Hot
50% | 7.6832 | 4.8012
75% | 6.2697 | 5.754
100% | 5.607 | 5.6729

## #5b. Bar Graph
100% | 102.5206
75% | 104.0768
50% | 103.3809

## Table
Data Type | 100% | 75% | 50%
Qe [W] | 0.99734 | 0.99022 | 0.82858
Qa [W] | 1.0083 | 1.0301 | 0.85625
Mdot Hot [kg/s] | 0.041166 | 0.041174 | 0.04129
Mdot Cold [kg/s] | 0.042665 | 0.039311 | 0.026663
Qf [W] | -0.023766 | -0.039841 | -0.027672
U [W/m2.K] | 2.05 | 1.9734 | 1.7019
Mean Temp Efficiency [%] | 21.4242 | 21.6652 | 23.0189
Vdot Hot [m3/min] | 4.1611e-05 | 4.165e-05 | 4.1772e-05
Vdot Cold [m3/min] | 4.2773e-05 | 3.9417e-05 | 2.6742e-05