## Run 1 (100%)
Hints used | Sample Number | Temp T1 [°C] | Temp T2 [°C] | Temp T3 [°C] | Temp T4 [°C] | Temp T5 [°C] | Temp T6 [°C] | Temp T7 [°C] | Temp T8 [°C] | Temp T9 [°C] | Temp T10 [°C] | Hot Water Pump Setting [%] | Hot Water Flowrate Fhot [l/min] | Cold Water Valve Setting [%] | Cold Water Flowrate Fcold [l/min] |  | Flow Orientation | Specific Heat Hot Fluid Cph [kJ/kg K] | Specific Heat Cold Fluid Cpc [kJ/kg K] | Hot Fluid Average Temperature [%] | Density Hot Fluid [kg/m³] | Cold Fluid Average Temperature [%] | Density Cold Fluid [kg/m³] | Thot [°C] | Tcold [°C] | Hot Mass Flow Rate qmh [kg/s] | Cold Mass Flow Rate qmc [kg/s] | Heat Power emitted Qe [W] | Heat Power absorbed Qa [W] | Heat Power lost Qf [W] | Overall Efficiency [%] | Temp Efficiency for hot fluid [%] |  | Temp Efficiency for cold fluid [%] |  | Mean Temp Efficiency [%] |  | LMTD ΔTlm | Overall Heat Transfer Coefficient U | ΔT1 | ΔT2 | Hot Fluid Volume Vdot Hot | Cold Fluid Volume Vdot Cold
| 1 | 50.6543 | 39.0947 | 23.5413 | 36.562 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.4536 | 100 | 2.1484 | 1 | Countercurrent | 4.1791 | 4.1782 | 44.8745 | 990.2548 | 30.0516 | 995.6374 | 11.5596 | 13.0208 | 0.040495 | 0.035651 | 1956.2618 | 1939.5447 | 16.7171 | 99.15% | 42.63% |  | 48.02% |  | 45.33% | 1.1037 | 14.8109 | 3475.8654 | 14.0923 | 15.5535 | 4.0902e-05 | 3.5814e-05
| 2 | 50.4595 | 38.9973 | 23.6387 | 36.4321 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.478 | 100 | 1.9897 | 1 | Countercurrent | 4.1791 | 4.1782 | 44.7284 | 990.3158 | 30.0354 | 995.6423 | 11.4622 | 12.7935 | 0.0409 | 0.033018 | 1959.1838 | 1764.9359 | 194.2479 | 90.09% | 42.74% |  | 47.7% |  | 45.22% | 1.0949 | 14.6829 | 3511.387 | 14.0273 | 15.3586 | 4.1309e-05 | 3.3169e-05
| 3 | 49.7126 | 38.5752 | 23.4763 | 36.1074 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.4902 | 100 | 2.063 | 1 | Countercurrent | 4.179 | 4.1783 | 44.1439 | 990.5582 | 29.7919 | 995.7159 | 11.1375 | 12.6311 | 0.041112 | 0.034236 | 1913.474 | 1806.8282 | 106.6458 | 94.43% | 42.45% |  | 48.14% |  | 45.3% | 1.1098 | 14.3391 | 3511.7005 | 13.6052 | 15.0989 | 4.1512e-05 | 3.439e-05
| 4 | 48.8359 | 37.8284 | 22.9243 | 35.2957 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4902 | 100 | 1.9531 | 1 | Countercurrent | 4.1788 | 4.1784 | 43.3322 | 990.8909 | 29.11 | 995.9193 | 11.0076 | 12.3713 | 0.041126 | 0.032419 | 1891.7241 | 1675.8094 | 215.9146 | 88.59% | 42.48% |  | 47.74% |  | 45.11% | 1.1007 | 14.2113 | 3503.011 | 13.5403 | 14.9041 | 4.1512e-05 | 3.2559e-05
| 5 | 48.2515 | 37.4712 | 22.6321 | 34.9385 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4658 | 100 | 1.9897 | 1 | Countercurrent | 4.1787 | 4.1784 | 42.8613 | 991.0818 | 28.7853 | 996.0147 | 10.7803 | 12.3064 | 0.04073 | 0.03303 | 1834.8146 | 1698.4533 | 136.3613 | 92.57% | 42.08% |  | 48.04% |  | 45.06% | 1.1146 | 14.0623 | 3433.6322 | 13.313 | 14.8391 | 4.1105e-05 | 3.3169e-05
| 6 | 47.2773 | 36.7893 | 22.4048 | 34.2566 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.6123 | 100 | 1.9897 | 1 | Countercurrent | 4.1786 | 4.1785 | 42.0333 | 991.4138 | 28.3307 | 996.1466 | 10.488 | 11.8518 | 0.043165 | 0.033035 | 1891.69 | 1635.9619 | 255.7281 | 86.48% | 42.17% |  | 47.65% |  | 44.91% | 1.1047 | 13.6913 | 3635.9767 | 13.0208 | 14.3845 | 4.3547e-05 | 3.3169e-05
| 7 | 46.7903 | 36.2698 | 22.3723 | 33.8669 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4658 | 100 | 2.0264 | 1 | Countercurrent | 4.1785 | 4.1785 | 41.53 | 991.6132 | 28.1196 | 996.2072 | 10.5205 | 11.4946 | 0.040752 | 0.033645 | 1791.4686 | 1615.975 | 175.4936 | 90.2% | 43.09% |  | 47.07% |  | 45.08% | 1.0754 | 13.4045 | 3517.0208 | 12.9233 | 13.8975 | 4.1105e-05 | 3.378e-05
| 8 | 45.9785 | 35.9451 | 22.3074 | 33.5098 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4536 | 100 | 2.0264 | 1 | Countercurrent | 4.1784 | 4.1786 | 40.9618 | 991.8362 | 27.9086 | 996.2674 | 10.0334 | 11.2024 | 0.04056 | 0.033647 | 1700.4207 | 1575.0018 | 125.4189 | 92.62% | 42.39% |  | 47.33% |  | 44.86% | 1.0938 | 13.0445 | 3430.4061 | 12.4688 | 13.6377 | 4.0902e-05 | 3.378e-05
| 9 | 45.1667 | 35.4905 | 22.3723 | 33.0876 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.5146 | 100 | 2.063 | 1 | Countercurrent | 4.1783 | 4.1786 | 40.3286 | 992.0819 | 27.73 | 996.3181 | 9.6763 | 10.7153 | 0.041579 | 0.034257 | 1681.0633 | 1533.8411 | 147.2222 | 91.24% | 42.45% |  | 47.01% |  | 44.73% | 1.086 | 12.5915 | 3513.3661 | 12.0791 | 13.1182 | 4.1919e-05 | 3.439e-05
| 10 | 44.6797 | 35.1333 | 22.4373 | 32.8279 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 43 | 2.4902 | 100 | 2.063 | 1 | Countercurrent | 4.1783 | 4.1786 | 39.9065 | 992.2441 | 27.6326 | 996.3456 | 9.5464 | 10.3906 | 0.041182 | 0.034257 | 1642.6447 | 1487.4094 | 155.2353 | 90.55% | 42.92% |  | 46.72% |  | 44.82% | 1.0712 | 12.2691 | 3523.2857 | 11.8518 | 12.696 | 4.1512e-05 | 3.439e-05
| 11 | 44.1277 | 34.906 | 22.4697 | 32.6331 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 43 | 2.5635 | 100 | 2.0264 | 1 | Countercurrent | 4.1782 | 4.1786 | 39.5168 | 992.3926 | 27.5514 | 996.3684 | 9.2217 | 10.1633 | 0.0424 | 0.03365 | 1633.6691 | 1429.0848 | 204.5843 | 87.48% | 42.58% |  | 46.93% |  | 44.75% | 1.0819 | 11.9593 | 3594.8073 | 11.4946 | 12.4363 | 4.2733e-05 | 3.378e-05
| 12 | 43.4783 | 34.5164 | 22.5347 | 32.2759 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4902 | 100 | 2.0874 | 1 | Countercurrent | 4.1782 | 4.1787 | 38.9973 | 992.589 | 27.4053 | 996.4094 | 8.9619 | 9.7412 | 0.041196 | 0.034665 | 1542.5735 | 1411.0555 | 131.518 | 91.47% | 42.79% |  | 46.51% |  | 44.65% | 1.0696 | 11.5877 | 3503.2087 | 11.2024 | 11.9817 | 4.1512e-05 | 3.4797e-05
| 13 | 42.9587 | 34.1592 | 22.6321 | 31.9512 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.5879 | 100 | 2.0264 | 1 | Countercurrent | 4.1781 | 4.1787 | 38.559 | 992.753 | 27.2916 | 996.4411 | 8.7996 | 9.3191 | 0.042819 | 0.033653 | 1574.2698 | 1310.4884 | 263.7814 | 83.24% | 43.29% |  | 45.85% |  | 44.57% | 1.0472 | 11.2653 | 3677.4888 | 11.0076 | 11.5271 | 4.314e-05 | 3.378e-05
| 14 | 42.4067 | 33.9968 | 22.697 | 31.8538 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.5269 | 100 | 2.0264 | 1 | Countercurrent | 4.1781 | 4.1787 | 38.2018 | 992.8857 | 27.2754 | 996.4456 | 8.4099 | 9.1567 | 0.041815 | 0.033653 | 1469.2607 | 1287.6645 | 181.5962 | 87.64% | 42.67% |  | 46.46% |  | 44.56% | 1.0708 | 10.9221 | 3540.036 | 10.553 | 11.2998 | 4.2123e-05 | 3.378e-05
| 15 | 41.9846 | 33.7046 | 22.7295 | 31.6265 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4292 | 100 | 1.9897 | 1 | Countercurrent | 4.1781 | 4.1787 | 37.8446 | 993.0173 | 27.178 | 996.4727 | 8.28 | 8.897 | 0.040204 | 0.033045 | 1390.8382 | 1228.564 | 162.2742 | 88.33% | 43% |  | 46.21% |  | 44.6% | 1.0596 | 10.6637 | 3432.3144 | 10.3582 | 10.9751 | 4.0495e-05 | 3.3169e-05
| 16 | 41.5625 | 33.4124 | 22.7944 | 31.4316 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4902 | 100 | 2.0508 | 1 | Countercurrent | 4.178 | 4.1787 | 37.4874 | 993.148 | 27.113 | 996.4907 | 8.1501 | 8.6372 | 0.04122 | 0.03406 | 1403.5946 | 1229.3059 | 174.2888 | 87.58% | 43.43% |  | 46.02% |  | 44.72% | 1.0481 | 10.3725 | 3561.0276 | 10.1309 | 10.6179 | 4.1512e-05 | 3.4187e-05
| 17 | 41.1079 | 33.1851 | 22.8269 | 31.2368 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4292 | 100 | 2.0508 | 1 | Countercurrent | 4.178 | 4.1788 | 37.1465 | 993.2719 | 27.0319 | 996.5131 | 7.9229 | 8.4099 | 0.040214 | 0.034061 | 1331.1671 | 1196.9881 | 134.179 | 89.92% | 43.34% |  | 46% |  | 44.67% | 1.0493 | 10.1127 | 3464.0421 | 9.8711 | 10.3582 | 4.0495e-05 | 3.4187e-05
| 18 | 40.5884 | 33.0552 | 22.8269 | 31.042 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.5879 | 100 | 2.124 | 1 | Countercurrent | 4.178 | 4.1788 | 36.8218 | 993.389 | 26.9344 | 996.54 | 7.5332 | 8.2151 | 0.042846 | 0.035278 | 1348.5367 | 1211.0572 | 137.4795 | 89.81% | 42.41% |  | 46.25% |  | 44.33% | 1.0714 | 9.8834 | 3590.6444 | 9.5464 | 10.2283 | 4.314e-05 | 3.5407e-05
| 19 | 40.2637 | 32.7305 | 22.7944 | 30.8472 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4414 | 100 | 2.0264 | 1 | Countercurrent | 4.178 | 4.1788 | 36.4971 | 993.5053 | 26.8208 | 996.5712 | 7.5332 | 8.0527 | 0.040426 | 0.033657 | 1272.3484 | 1132.5857 | 139.7626 | 89.02% | 43.12% |  | 46.1% |  | 44.61% | 1.0552 | 9.6739 | 3461.1375 | 9.4165 | 9.936 | 4.0698e-05 | 3.378e-05
| 20 | 39.7766 | 32.4707 | 22.762 | 30.6199 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4536 | 100 | 1.9531 | 1 | Countercurrent | 4.178 | 4.1788 | 36.1237 | 993.638 | 26.6909 | 996.6068 | 7.3059 | 7.8579 | 0.040633 | 0.032442 | 1240.2893 | 1065.2842 | 175.0052 | 85.89% | 42.94% |  | 46.18% |  | 44.56% | 1.0603 | 9.43 | 3461.191 | 9.1567 | 9.7087 | 4.0902e-05 | 3.2559e-05
| 21 | 39.5493 | 32.2434 | 22.7295 | 30.3926 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4902 | 100 | 2.0508 | 1 | Countercurrent | 4.178 | 4.1789 | 35.8964 | 993.7183 | 26.561 | 996.6421 | 7.3059 | 7.6631 | 0.041243 | 0.034065 | 1258.9004 | 1090.863 | 168.0374 | 86.65% | 43.44% |  | 45.56% |  | 44.5% | 1.039 | 9.3342 | 3549.206 | 9.1567 | 9.5139 | 4.1512e-05 | 3.4187e-05
| 22 | 39.2896 | 32.0486 | 22.697 | 30.1653 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4536 | 100 | 2.0874 | 1 | Countercurrent | 4.178 | 4.1789 | 35.6691 | 993.7981 | 26.4312 | 996.6773 | 7.241 | 7.4683 | 0.04064 | 0.034674 | 1229.4583 | 1082.1605 | 147.2978 | 88.02% | 43.64% |  | 45.01% |  | 44.32% | 1.0249 | 9.2374 | 3502.4999 | 9.1243 | 9.3516 | 4.0902e-05 | 3.4797e-05
| 23 | 38.8025 | 31.8213 | 22.6646 | 30.0029 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4536 | 100 | 2.063 | 1 | Countercurrent | 4.178 | 4.1789 | 35.3119 | 993.9228 | 26.3337 | 996.7036 | 6.9812 | 7.3384 | 0.040645 | 0.03427 | 1185.4985 | 1050.9377 | 134.5608 | 88.65% | 43.26% |  | 45.47% |  | 44.37% | 1.0406 | 8.977 | 3475.2645 | 8.7996 | 9.1567 | 4.0902e-05 | 3.439e-05
| 24 | 38.6401 | 31.6265 | 22.5996 | 29.8081 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.5635 | 100 | 2.0874 | 1 | Countercurrent | 4.1779 | 4.179 | 35.1333 | 993.9847 | 26.2039 | 996.7386 | 7.0137 | 7.2085 | 0.042468 | 0.034677 | 1244.418 | 1044.5992 | 199.8188 | 83.94% | 43.72% |  | 44.94% |  | 44.33% | 1.0221 | 8.9291 | 3667.5457 | 8.832 | 9.0269 | 4.2733e-05 | 3.4797e-05
| 25 | 38.4453 | 31.4641 | 22.5671 | 29.6782 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.5269 | 100 | 2.2095 | 1 | Countercurrent | 4.1779 | 4.179 | 34.9547 | 994.0464 | 26.1227 | 996.7603 | 6.9812 | 7.1111 | 0.041864 | 0.036705 | 1221.0368 | 1090.7747 | 130.2621 | 89.33% | 43.97% |  | 44.79% |  | 44.38% | 1.0148 | 8.8319 | 3638.2489 | 8.7671 | 8.897 | 4.2123e-05 | 3.6832e-05
| 26 | 38.2505 | 31.3018 | 22.5347 | 29.5483 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.5269 | 100 | 2.1484 | 1 | Countercurrent | 4.1779 | 4.179 | 34.7761 | 994.1079 | 26.0415 | 996.782 | 6.9487 | 7.0137 | 0.041866 | 0.035692 | 1215.4323 | 1046.1418 | 169.2906 | 86.07% | 44.21% |  | 44.63% |  | 44.42% | 1.0075 | 8.7346 | 3661.8893 | 8.7021 | 8.7671 | 4.2123e-05 | 3.5814e-05
| 27 | 38.0881 | 31.2043 | 22.4697 | 29.4509 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4536 | 100 | 2.063 | 1 | Countercurrent | 4.1779 | 4.179 | 34.6462 | 994.1524 | 25.9603 | 996.8037 | 6.8838 | 6.9812 | 0.040654 | 0.034273 | 1169.2247 | 999.9103 | 169.3144 | 85.52% | 44.07% |  | 44.7% |  | 44.39% | 1.0113 | 8.6858 | 3542.4477 | 8.6372 | 8.7346 | 4.0902e-05 | 3.439e-05
| 28 | 37.731 | 31.042 | 22.5022 | 29.2886 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4902 | 100 | 2.063 | 1 | Countercurrent | 4.1779 | 4.1791 | 34.3865 | 994.241 | 25.8954 | 996.8209 | 6.689 | 6.7864 | 0.041265 | 0.034274 | 1153.1935 | 972.0269 | 181.1666 | 84.29% | 43.92% |  | 44.56% |  | 44.24% | 1.0115 | 8.491 | 3574.0445 | 8.4424 | 8.5398 | 4.1512e-05 | 3.439e-05
| 29 | 37.3738 | 30.8472 | 22.4373 | 29.0938 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.5024 | 100 | 2.0142 | 1 | Countercurrent | 4.1779 | 4.1791 | 34.1105 | 994.3346 | 25.7655 | 996.8553 | 6.5266 | 6.6565 | 0.041471 | 0.033464 | 1130.826 | 930.8976 | 199.9285 | 82.32% | 43.7% |  | 44.57% |  | 44.13% | 1.0157 | 8.3448 | 3566.1217 | 8.28 | 8.4099 | 4.1716e-05 | 3.3576e-05
| 30 | 37.2114 | 30.7173 | 22.4048 | 29.0938 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.478 | 100 | 2.0264 | 1 | Countercurrent | 4.1779 | 4.1791 | 33.9644 | 994.3839 | 25.7493 | 996.8596 | 6.4941 | 6.689 | 0.041069 | 0.033667 | 1114.2782 | 941.1129 | 173.1653 | 84.46% | 43.86% |  | 45.18% |  | 44.52% | 1.024 | 8.2147 | 3569.5888 | 8.1177 | 8.3125 | 4.1309e-05 | 3.378e-05
| 31 | 37.0166 | 30.6523 | 22.4373 | 29.0288 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 43 | 2.478 | 100 | 1.9897 | 1 | Countercurrent | 4.178 | 4.1791 | 33.8345 | 994.4275 | 25.733 | 996.8639 | 6.3643 | 6.5916 | 0.04107 | 0.033058 | 1092.0412 | 910.652 | 181.3892 | 83.39% | 43.65% |  | 45.21% |  | 44.43% | 1.0285 | 8.1009 | 3547.4939 | 7.9878 | 8.2151 | 4.1309e-05 | 3.3169e-05
| 32 | 36.8867 | 30.5225 | 22.3723 | 28.8989 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4292 | 100 | 2.0508 | 1 | Countercurrent | 4.178 | 4.1791 | 33.7046 | 994.4711 | 25.6356 | 996.8895 | 6.3643 | 6.5266 | 0.040263 | 0.034073 | 1070.5706 | 929.3691 | 141.2015 | 86.81% | 43.85% |  | 44.97% |  | 44.41% | 1.0203 | 8.0687 | 3491.6306 | 7.9878 | 8.1501 | 4.0495e-05 | 3.4187e-05
| 33 | 36.7244 | 30.4575 | 22.3398 | 28.769 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 43 | 2.4536 | 100 | 2.0264 | 1 | Countercurrent | 4.178 | 4.1791 | 33.5909 | 994.509 | 25.5544 | 996.9108 | 6.2668 | 6.4292 | 0.040669 | 0.033668 | 1064.8205 | 904.6237 | 160.1968 | 84.96% | 43.57% |  | 44.7% |  | 44.13% | 1.0204 | 8.0362 | 3486.9095 | 7.9553 | 8.1177 | 4.0902e-05 | 3.378e-05
| 34 | 36.4321 | 30.3276 | 22.3398 | 28.7041 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 43 | 2.4536 | 100 | 2.0996 | 1 | Countercurrent | 4.178 | 4.1792 | 33.3799 | 994.5793 | 25.522 | 996.9193 | 6.1045 | 6.3643 | 0.040672 | 0.034886 | 1037.3092 | 927.8631 | 109.4461 | 89.45% | 43.32% |  | 45.16% |  | 44.24% | 1.0336 | 7.8572 | 3474.2184 | 7.728 | 7.9878 | 4.0902e-05 | 3.5e-05
| 35 | 36.3997 | 30.2952 | 22.3398 | 28.7041 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 43 | 2.5024 | 100 | 1.9165 | 1 | Countercurrent | 4.178 | 4.1792 | 33.3474 | 994.5901 | 25.522 | 996.9193 | 6.1045 | 6.3643 | 0.041482 | 0.031843 | 1057.9638 | 846.9448 | 211.0191 | 80.05% | 43.42% |  | 45.27% |  | 44.34% | 1.0338 | 7.8247 | 3558.1018 | 7.6956 | 7.9553 | 4.1716e-05 | 3.1948e-05
| 36 | 36.2373 | 30.1978 | 22.3398 | 28.6392 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 43 | 2.4902 | 100 | 2.0264 | 1 | Countercurrent | 4.178 | 4.1792 | 33.2175 | 994.6331 | 25.4895 | 996.9278 | 6.0396 | 6.2993 | 0.041281 | 0.033669 | 1041.6491 | 886.3676 | 155.2815 | 85.09% | 43.46% |  | 45.33% |  | 44.39% | 1.0342 | 7.7273 | 3547.3994 | 7.5981 | 7.8579 | 4.1512e-05 | 3.378e-05
| 37 | 36.1724 | 30.1328 | 22.3398 | 28.5742 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 43 | 2.4902 | 100 | 2.0508 | 1 | Countercurrent | 4.178 | 4.1792 | 33.1526 | 994.6545 | 25.457 | 996.9363 | 6.0396 | 6.2344 | 0.041282 | 0.034075 | 1041.6721 | 887.8085 | 153.8637 | 85.23% | 43.66% |  | 45.07% |  | 44.37% | 1.0256 | 7.6951 | 3562.301 | 7.5981 | 7.793 | 4.1512e-05 | 3.4187e-05
| 38 | 35.9451 | 30.1003 | 22.3398 | 28.5093 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 43 | 2.4414 | 100 | 2.0508 | 1 | Countercurrent | 4.178 | 4.1792 | 33.0227 | 994.6973 | 25.4246 | 996.9448 | 5.8447 | 6.1694 | 0.040474 | 0.034075 | 988.3474 | 878.57 | 109.7774 | 88.89% | 42.96% |  | 45.35% |  | 44.15% | 1.0437 | 7.597 | 3423.6125 | 7.4358 | 7.7605 | 4.0698e-05 | 3.4187e-05
| 39 | 35.8152 | 29.938 | 22.3074 | 28.3794 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 43 | 2.417 | 100 | 1.9653 | 1 | Countercurrent | 4.178 | 4.1792 | 32.8766 | 994.7453 | 25.3434 | 996.9659 | 5.8772 | 6.072 | 0.040072 | 0.032656 | 983.9488 | 828.6912 | 155.2575 | 84.22% | 43.51% |  | 44.95% |  | 44.23% | 1.0262 | 7.5328 | 3437.4265 | 7.4358 | 7.6306 | 4.0291e-05 | 3.2762e-05
| 40 | 35.6204 | 29.9055 | 22.3074 | 28.3469 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 43 | 2.5146 | 100 | 2.0142 | 1 | Countercurrent | 4.178 | 4.1792 | 32.7629 | 994.7825 | 25.3271 | 996.9702 | 5.7148 | 6.0396 | 0.041692 | 0.033468 | 995.4636 | 844.7428 | 150.7208 | 84.86% | 42.93% |  | 45.37% |  | 44.15% | 1.0446 | 7.4346 | 3523.5759 | 7.2734 | 7.5981 | 4.1919e-05 | 3.3576e-05
| 41 | 35.5229 | 29.7756 | 22.3074 | 28.217 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 43 | 2.5513 | 100 | 2.0752 | 1 | Countercurrent | 4.178 | 4.1792 | 32.6493 | 994.8196 | 25.2622 | 996.987 | 5.7473 | 5.9097 | 0.042301 | 0.034482 | 1015.7382 | 851.6425 | 164.0957 | 83.84% | 43.49% |  | 44.72% |  | 44.1% | 1.0222 | 7.3868 | 3618.6168 | 7.3059 | 7.4683 | 4.253e-05 | 3.4594e-05
| 42 | 35.4255 | 29.7756 | 22.3074 | 28.1846 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 44 | 2.5635 | 100 | 2.0508 | 1 | Countercurrent | 4.178 | 4.1792 | 32.6006 | 994.8354 | 25.246 | 996.9912 | 5.6499 | 5.8772 | 0.042504 | 0.034077 | 1003.3165 | 837.0034 | 166.3131 | 83.42% | 43.07% |  | 44.8% |  | 43.94% | 1.0314 | 7.354 | 3590.286 | 7.241 | 7.4683 | 4.2733e-05 | 3.4187e-05
| 43 | 35.3606 | 29.7107 | 22.2749 | 28.1196 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 43 | 2.4536 | 100 | 2.0508 | 1 | Countercurrent | 4.178 | 4.1793 | 32.5356 | 994.8566 | 25.1973 | 997.0038 | 5.6499 | 5.8447 | 0.040683 | 0.034077 | 960.3384 | 832.3926 | 127.9458 | 86.68% | 43.18% |  | 44.67% |  | 43.92% | 1.0269 | 7.3379 | 3444.0234 | 7.241 | 7.4358 | 4.0902e-05 | 3.4187e-05
| 44 | 35.2957 | 29.6458 | 22.3074 | 28.1196 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 43 | 2.5269 | 100 | 1.9653 | 1 | Countercurrent | 4.178 | 4.1793 | 32.4707 | 994.8776 | 25.2135 | 996.9996 | 5.6499 | 5.8123 | 0.041899 | 0.032657 | 989.027 | 793.2736 | 195.7534 | 80.21% | 43.5% |  | 44.75% |  | 44.12% | 1.0226 | 7.2569 | 3586.5217 | 7.176 | 7.3384 | 4.2123e-05 | 3.2762e-05
| 45 | 35.2632 | 29.5808 | 22.2749 | 28.0547 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 43 | 2.4536 | 100 | 2.063 | 1 | Countercurrent | 4.178 | 4.1793 | 32.422 | 994.8934 | 25.1648 | 997.0122 | 5.6824 | 5.7798 | 0.040685 | 0.03428 | 965.8948 | 828.0525 | 137.8424 | 85.73% | 43.75% |  | 44.5% |  | 44.12% | 1.0135 | 7.2571 | 3502.5436 | 7.2085 | 7.3059 | 4.0902e-05 | 3.439e-05
| 46 | 35.1333 | 29.5159 | 22.3074 | 27.9897 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 43 | 2.4902 | 100 | 1.9897 | 1 | Countercurrent | 4.178 | 4.1793 | 32.3246 | 994.925 | 25.1486 | 997.0164 | 5.6174 | 5.6824 | 0.041293 | 0.033063 | 969.1396 | 785.198 | 183.9417 | 81.02% | 43.8% |  | 44.3% |  | 44.05% | 1.0091 | 7.176 | 3554.0354 | 7.1436 | 7.2085 | 4.1512e-05 | 3.3169e-05
| 47 | 34.8735 | 29.386 | 22.3074 | 27.8923 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 43 | 2.417 | 100 | 2.0508 | 1 | Countercurrent | 4.178 | 4.1793 | 32.1298 | 994.9877 | 25.0999 | 997.029 | 5.4875 | 5.585 | 0.040081 | 0.034078 | 918.9474 | 795.4233 | 123.5241 | 86.56% | 43.67% |  | 44.44% |  | 44.06% | 1.014 | 7.0298 | 3440.0472 | 6.9812 | 7.0786 | 4.0291e-05 | 3.4187e-05
| 48 | 34.9385 | 29.386 | 22.3074 | 27.8923 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 43 | 2.4902 | 100 | 2.0386 | 1 | Countercurrent | 4.178 | 4.1793 | 32.1622 | 994.9773 | 25.0999 | 997.029 | 5.5525 | 5.585 | 0.041295 | 0.033875 | 957.9884 | 790.6886 | 167.2998 | 82.54% | 43.96% |  | 44.22% |  | 44.09% | 1.0046 | 7.0624 | 3569.6568 | 7.0461 | 7.0786 | 4.1512e-05 | 3.3983e-05
| 49 | 35.0034 | 29.386 | 22.3398 | 27.9248 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 43 | 2.4658 | 100 | 2.0142 | 1 | Countercurrent | 4.178 | 4.1793 | 32.1947 | 994.9669 | 25.1323 | 997.0206 | 5.6174 | 5.585 | 0.04089 | 0.033469 | 959.6805 | 781.2108 | 178.4697 | 81.4% | 44.36% |  | 44.1% |  | 44.23% | 0.99541 | 7.0624 | 3575.9619 | 7.0786 | 7.0461 | 4.1105e-05 | 3.3576e-05
| average | 39.99 | 32.4641 | 22.5506 | 30.5688 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42.3878 | 2.4885 | 100 | 2.0403 | 1 | Countercurrent | 4.1781 | 4.1789 | 36.227 | 993.5469 | 26.5597 | 996.6338 | 7.5259 | 8.0183 | 0.041207 | 0.033891 | 1296.0289 | 1135.22 | 160.8089 | 86.94% | 43.26% | #DIV/0! | 45.7% | #DIV/0! | 44.48% | 1.0455 | 9.6644 | 3531.0769 | 9.4211 | 9.9135 | 4.1483e-05 | 3.4012e-05
[33 empty] | 0 |  | 0 |  | 0
[33 empty] | 0 |  | 0 |  | 0
[33 empty] | 0 |  | 0 |  | 0
[33 empty] | 0 |  | 0 |  | 0
[33 empty] | 0 |  | 0 |  | 0
[33 empty] | 0 |  | 0 |  | 0

## Run 2 (75%)
Hints used | Sample Number | Temp T1 [°C] | Temp T2 [°C] | Temp T3 [°C] | Temp T4 [°C] | Temp T5 [°C] | Temp T6 [°C] | Temp T7 [°C] | Temp T8 [°C] | Temp T9 [°C] | Temp T10 [°C] | Hot Water Pump Setting [%] | Hot Water Flowrate Fhot [l/min] | Cold Water Valve Setting [%] | Cold Water Flowrate Fcold [l/min] |  | Flow Orientation | Specific Heat Hot Fluid Cph [kJ/kg K] | Specific Heat Cold Fluid Cpc [kJ/kg K] | Hot Fluid Average Temperature [%] | Density Hot Fluid [kg/m³] | Cold Fluid Average Temperature [%] | Density Cold Fluid [kg/m³] | Thot [°C] | Tcold [°C] | Hot Mass Flow Rate qmh [kg/s] | Cold Mass Flow Rate qmc [kg/s] | Heat Power emitted Qe [W] | Heat Power absorbed Qa [W] | Heat Power lost Qf [W] | Overall Efficiency [%] | Temp Efficiency for hot fluid [%] |  | Temp Efficiency for cold fluid [%] |  | Mean Temp Efficiency [%] |  | LMTD ΔTlm | Overall Heat Transfer Coefficient U | ΔT1 | ΔT2 | Hot Fluid Volume Vdot Hot | Cold Fluid Volume Vdot Cold
| 2 | 50.9465 | 39.8091 | 22.9893 | 37.7634 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4658 | 75 | 1.77 | 1 | Countercurrent | 4.1792 | 4.1782 | 45.3778 | 990.0437 | 30.3763 | 995.5383 | 11.1375 | 14.7742 | 0.040688 | 0.029369 | 1893.8482 | 1812.9041 | 80.9441 | 95.73% | 39.84% |  | 52.85% |  | 46.34% | 1.2759 | 14.9277 | 3338.6317 | 13.1831 | 16.8198 | 4.1105e-05 | 2.9506e-05
| 3 | 50.6868 | 39.7117 | 22.9243 | 37.6011 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.478 | 75 | 1.7822 | 1 | Countercurrent | 4.1792 | 4.1782 | 45.1992 | 990.1188 | 30.2627 | 995.5731 | 10.9751 | 14.6768 | 0.040892 | 0.029572 | 1875.6046 | 1813.4404 | 62.1642 | 96.69% | 39.53% |  | 52.87% |  | 46.2% | 1.2829 | 14.8598 | 3321.5889 | 13.0857 | 16.7874 | 4.1309e-05 | 2.971e-05
| 4 | 50.1672 | 39.2571 | 22.8918 | 37.2439 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4536 | 75 | 1.7334 | 1 | Countercurrent | 4.1791 | 4.1782 | 44.7122 | 990.3225 | 30.0679 | 995.6324 | 10.9102 | 14.3521 | 0.040498 | 0.028764 | 1846.4706 | 1724.8487 | 121.6219 | 93.41% | 40% |  | 52.62% |  | 46.31% | 1.2663 | 14.5766 | 3333.5107 | 12.9233 | 16.3652 | 4.0902e-05 | 2.8896e-05
| 5 | 49.6477 | 39.0298 | 22.8594 | 37.0166 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.4902 | 75 | 1.709 | 1 | Countercurrent | 4.179 | 4.1782 | 44.3387 | 990.4776 | 29.938 | 995.6718 | 10.6179 | 14.1572 | 0.041109 | 0.02836 | 1824.0846 | 1677.5436 | 146.541 | 91.97% | 39.64% |  | 52.85% |  | 46.24% | 1.2802 | 14.328 | 3350.2452 | 12.6311 | 16.1704 | 4.1512e-05 | 2.8489e-05
| 6 | 49.0957 | 38.5752 | 22.7944 | 36.5945 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.5391 | 75 | 1.709 | 1 | Countercurrent | 4.1789 | 4.1783 | 43.8354 | 990.6852 | 29.6945 | 995.7452 | 10.5205 | 13.8 | 0.041924 | 0.028362 | 1843.1301 | 1635.3537 | 207.7764 | 88.73% | 40% |  | 52.47% |  | 46.23% | 1.2623 | 14.0774 | 3445.4864 | 12.5012 | 15.7808 | 4.2326e-05 | 2.8489e-05
| 7 | 48.6411 | 38.283 | 22.7295 | 36.3022 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.356 | 75 | 1.7578 | 1 | Countercurrent | 4.1788 | 4.1783 | 43.462 | 990.838 | 29.5159 | 995.7987 | 10.3582 | 13.5728 | 0.038906 | 0.029174 | 1684.051 | 1654.4722 | 29.5787 | 98.24% | 39.97% |  | 52.38% |  | 46.18% | 1.2605 | 13.8842 | 3191.9111 | 12.3389 | 15.5535 | 3.9274e-05 | 2.9303e-05
| 8 | 47.8943 | 37.8284 | 22.6646 | 35.8801 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.4536 | 75 | 1.6968 | 1 | Countercurrent | 4.1787 | 4.1783 | 42.8613 | 991.0818 | 29.2723 | 995.8713 | 10.0659 | 13.2156 | 0.040529 | 0.028163 | 1704.7492 | 1555.125 | 149.6242 | 91.22% | 39.9% |  | 52.38% |  | 46.14% | 1.2622 | 13.5279 | 3316.2359 | 12.0142 | 15.1638 | 4.0902e-05 | 2.8285e-05
| 9 | 47.5696 | 37.6335 | 22.6321 | 35.6853 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.4536 | 75 | 1.6968 | 1 | Countercurrent | 4.1787 | 4.1783 | 42.6016 | 991.1865 | 29.1587 | 995.9049 | 9.936 | 13.0532 | 0.040533 | 0.028164 | 1682.9119 | 1536.0787 | 146.8333 | 91.28% | 39.84% |  | 52.34% |  | 46.09% | 1.2623 | 13.3824 | 3309.3538 | 11.8843 | 15.0015 | 4.0902e-05 | 2.8285e-05
| 10 | 47.05 | 37.114 | 22.5996 | 35.1982 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.5146 | 75 | 1.7944 | 1 | Countercurrent | 4.1786 | 4.1784 | 42.082 | 991.3944 | 28.8989 | 995.9814 | 9.936 | 12.5986 | 0.04155 | 0.029787 | 1725.1014 | 1568.0481 | 157.0534 | 90.9% | 40.64% |  | 51.53% |  | 46.08% | 1.2247 | 13.1382 | 3455.383 | 11.8518 | 14.5144 | 4.1919e-05 | 2.9913e-05
| 11 | 46.5305 | 36.7893 | 22.5996 | 34.8411 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.4536 | 75 | 1.77 | 1 | Countercurrent | 4.1785 | 4.1784 | 41.6599 | 991.5619 | 28.7203 | 996.0337 | 9.7412 | 12.2415 | 0.040548 | 0.029383 | 1650.478 | 1502.9536 | 147.5244 | 91.06% | 40.71% |  | 51.15% |  | 45.93% | 1.2139 | 12.8992 | 3367.153 | 11.6895 | 14.1897 | 4.0902e-05 | 2.9506e-05
| 12 | 46.1409 | 36.627 | 22.5347 | 34.6787 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.4902 | 75 | 1.8188 | 1 | Countercurrent | 4.1785 | 4.1784 | 41.3839 | 991.6708 | 28.6067 | 996.0667 | 9.5139 | 12.144 | 0.041158 | 0.030195 | 1636.1893 | 1532.1828 | 104.0065 | 93.64% | 40.3% |  | 51.44% |  | 45.87% | 1.2295 | 12.732 | 3381.8482 | 11.4622 | 14.0923 | 4.1512e-05 | 3.032e-05
| 13 | 45.5889 | 36.3997 | 22.5996 | 34.4514 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 43 | 2.5146 | 75 | 1.8066 | 1 | Countercurrent | 4.1784 | 4.1785 | 40.9943 | 991.8235 | 28.5255 | 996.0903 | 9.1892 | 11.8518 | 0.041568 | 0.029993 | 1596.0645 | 1485.3167 | 110.7478 | 93.06% | 39.97% |  | 51.55% |  | 45.76% | 1.2391 | 12.4212 | 3381.4459 | 11.1375 | 13.8 | 4.1919e-05 | 3.0117e-05
| 14 | 45.1018 | 36.1074 | 22.5996 | 34.1592 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.478 | 75 | 1.8311 | 1 | Countercurrent | 4.1784 | 4.1785 | 40.6046 | 991.9752 | 28.3794 | 996.1326 | 8.9944 | 11.5596 | 0.040969 | 0.0304 | 1539.6904 | 1468.3409 | 71.3495 | 95.37% | 39.97% |  | 51.37% |  | 45.67% | 1.2344 | 12.1802 | 3326.5511 | 10.9426 | 13.5078 | 4.1309e-05 | 3.0524e-05
| 15 | 44.7446 | 35.8477 | 22.6321 | 33.9644 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.5146 | 75 | 1.7944 | 1 | Countercurrent | 4.1783 | 4.1785 | 40.2961 | 992.0944 | 28.2982 | 996.156 | 8.897 | 11.3323 | 0.041579 | 0.029792 | 1545.6936 | 1410.7179 | 134.9757 | 91.27% | 40.23% |  | 51.25% |  | 45.74% | 1.2259 | 11.9566 | 3401.9776 | 10.7803 | 13.2156 | 4.1919e-05 | 2.9913e-05
| 16 | 44.2251 | 35.5229 | 22.6321 | 33.6396 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.478 | 75 | 1.7456 | 1 | Countercurrent | 4.1783 | 4.1785 | 39.874 | 992.2565 | 28.1359 | 996.2026 | 8.7021 | 11.0076 | 0.040981 | 0.028983 | 1490.054 | 1333.0814 | 156.9726 | 89.47% | 40.3% |  | 50.98% |  | 45.64% | 1.2178 | 11.7003 | 3351.3543 | 10.5854 | 12.8909 | 4.1309e-05 | 2.9099e-05
| 17 | 43.9978 | 35.3931 | 22.6646 | 33.5422 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.5635 | 75 | 1.8066 | 1 | Countercurrent | 4.1783 | 4.1785 | 39.6954 | 992.3247 | 28.1034 | 996.2119 | 8.6047 | 10.8777 | 0.042397 | 0.029997 | 1524.2774 | 1363.4279 | 160.8495 | 89.45% | 40.33% |  | 50.99% |  | 45.66% | 1.2174 | 11.5548 | 3471.5048 | 10.4556 | 12.7285 | 4.2733e-05 | 3.0117e-05
| 18 | 43.5757 | 35.1658 | 22.6646 | 33.3799 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.4536 | 75 | 1.7578 | 1 | Countercurrent | 4.1782 | 4.1785 | 39.3707 | 992.4481 | 28.0222 | 996.2351 | 8.4099 | 10.7153 | 0.040585 | 0.029187 | 1426.0832 | 1306.8142 | 119.269 | 91.64% | 40.22% |  | 51.24% |  | 45.73% | 1.2261 | 11.3094 | 3318.3538 | 10.1958 | 12.5012 | 4.0902e-05 | 2.9303e-05
| 19 | 43.2185 | 34.9385 | 22.697 | 33.25 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.5269 | 75 | 1.7212 | 1 | Countercurrent | 4.1782 | 4.1786 | 39.0785 | 992.5584 | 27.9735 | 996.249 | 8.28 | 10.553 | 0.041801 | 0.028579 | 1446.121 | 1260.2216 | 185.8994 | 87.14% | 40.35% |  | 51.42% |  | 45.89% | 1.228 | 11.0661 | 3438.9538 | 9.9685 | 12.2415 | 4.2123e-05 | 2.8692e-05
| 20 | 43.0237 | 34.8086 | 22.697 | 33.1201 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.5269 | 75 | 1.5991 | 1 | Countercurrent | 4.1782 | 4.1786 | 38.9161 | 992.6194 | 27.9086 | 996.2674 | 8.2151 | 10.4231 | 0.041803 | 0.026553 | 1434.8615 | 1156.4589 | 278.4026 | 80.6% | 40.42% |  | 51.28% |  | 45.85% | 1.223 | 10.9706 | 3441.8948 | 9.9036 | 12.1116 | 4.2123e-05 | 2.6657e-05
| 21 | 42.9263 | 34.6787 | 22.697 | 33.0227 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.5146 | 75 | 1.6479 | 1 | Countercurrent | 4.1782 | 4.1786 | 38.8025 | 992.6621 | 27.8599 | 996.2813 | 8.2476 | 10.3257 | 0.041603 | 0.027364 | 1433.6315 | 1180.6517 | 252.9798 | 82.35% | 40.77% |  | 51.04% |  | 45.91% | 1.2098 | 10.9097 | 3458.1415 | 9.9036 | 11.9817 | 4.1919e-05 | 2.7471e-05
| 22 | 42.5042 | 34.4839 | 22.7295 | 32.8604 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.5391 | 75 | 1.77 | 1 | Countercurrent | 4.1781 | 4.1786 | 38.494 | 992.7772 | 27.7949 | 996.2997 | 8.0203 | 10.1309 | 0.042012 | 0.029391 | 1407.8107 | 1244.2078 | 163.6029 | 88.38% | 40.56% |  | 51.23% |  | 45.89% | 1.2189 | 10.6643 | 3473.9847 | 9.6438 | 11.7544 | 4.2326e-05 | 2.9506e-05
| 23 | 42.3093 | 34.3215 | 22.7295 | 32.698 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.5146 | 75 | 1.7456 | 1 | Countercurrent | 4.1781 | 4.1786 | 38.3154 | 992.8436 | 27.7137 | 996.3227 | 7.9878 | 9.9685 | 0.041611 | 0.028986 | 1388.7168 | 1207.4148 | 181.302 | 86.94% | 40.8% |  | 50.91% |  | 45.85% | 1.2061 | 10.5708 | 3457.1903 | 9.6113 | 11.592 | 4.1919e-05 | 2.9099e-05
| 24 | 42.082 | 34.1267 | 22.6646 | 32.5032 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.4414 | 75 | 1.6724 | 1 | Countercurrent | 4.1781 | 4.1786 | 38.1044 | 992.9217 | 27.5839 | 996.3593 | 7.9553 | 9.8386 | 0.040402 | 0.027771 | 1342.8878 | 1141.7317 | 201.1561 | 85.02% | 40.97% |  | 50.67% |  | 45.82% | 1.1966 | 10.4924 | 3368.0866 | 9.5789 | 11.4622 | 4.0698e-05 | 2.7878e-05
| 25 | 41.8223 | 34.0293 | 22.7295 | 32.4382 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.4536 | 75 | 1.7578 | 1 | Countercurrent | 4.1781 | 4.1786 | 37.9258 | 992.9875 | 27.5839 | 996.3593 | 7.793 | 9.7087 | 0.040607 | 0.02919 | 1322.1425 | 1184.2259 | 137.9166 | 89.57% | 40.82% |  | 50.85% |  | 45.83% | 1.2042 | 10.3123 | 3373.9612 | 9.384 | 11.2998 | 4.0902e-05 | 2.9303e-05
| 26 | 41.6599 | 33.9319 | 22.7295 | 32.3408 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.5513 | 75 | 1.7334 | 1 | Countercurrent | 4.1781 | 4.1786 | 37.7959 | 993.0352 | 27.5352 | 996.373 | 7.728 | 9.6113 | 0.042225 | 0.028785 | 1363.3709 | 1156.0803 | 207.2907 | 84.8% | 40.82% |  | 50.77% |  | 45.8% | 1.2021 | 10.2319 | 3506.5123 | 9.3191 | 11.2024 | 4.253e-05 | 2.8896e-05
| 27 | 41.4976 | 33.7695 | 22.7295 | 32.2109 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.4902 | 75 | 1.7944 | 1 | Countercurrent | 4.1781 | 4.1787 | 37.6335 | 993.0947 | 27.4702 | 996.3912 | 7.728 | 9.4814 | 0.041217 | 0.029799 | 1330.8303 | 1180.6401 | 150.1902 | 88.71% | 41.18% |  | 50.52% |  | 45.85% | 1.1888 | 10.1381 | 3454.4885 | 9.2866 | 11.04 | 4.1512e-05 | 2.9913e-05
| 28 | 41.1729 | 33.6396 | 22.7295 | 32.0811 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.4902 | 75 | 1.7578 | 1 | Countercurrent | 4.178 | 4.1787 | 37.4062 | 993.1776 | 27.4053 | 996.4094 | 7.5332 | 9.3516 | 0.041221 | 0.029192 | 1297.3834 | 1140.727 | 156.6564 | 87.93% | 40.85% |  | 50.7% |  | 45.77% | 1.2 | 9.9734 | 3423.2848 | 9.0918 | 10.9102 | 4.1512e-05 | 2.9303e-05
| 29 | 40.978 | 33.5422 | 22.7295 | 32.0161 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.4292 | 75 | 1.6968 | 1 | Countercurrent | 4.178 | 4.1787 | 37.2601 | 993.2307 | 27.3728 | 996.4184 | 7.4358 | 9.2866 | 0.040213 | 0.028178 | 1249.2833 | 1093.4836 | 155.7998 | 87.53% | 40.75% |  | 50.89% |  | 45.82% | 1.2065 | 9.8584 | 3334.8122 | 8.9619 | 10.8127 | 4.0495e-05 | 2.8285e-05
| 30 | 40.7832 | 33.4448 | 22.6646 | 31.9187 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.417 | 75 | 1.6724 | 1 | Countercurrent | 4.178 | 4.1787 | 37.114 | 993.2836 | 27.2916 | 996.4411 | 7.3384 | 9.2542 | 0.040013 | 0.027774 | 1226.7843 | 1074.0107 | 152.7736 | 87.55% | 40.5% |  | 51.08% |  | 45.79% | 1.2161 | 9.7912 | 3297.2358 | 8.8645 | 10.7803 | 4.0291e-05 | 2.7878e-05
| 31 | 40.6533 | 33.3799 | 22.697 | 31.8213 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4902 | 75 | 1.6968 | 1 | Countercurrent | 4.178 | 4.1787 | 37.0166 | 993.3188 | 27.2592 | 996.4501 | 7.2734 | 9.1243 | 0.041227 | 0.028179 | 1252.8168 | 1074.4074 | 178.4094 | 85.76% | 40.51% |  | 50.81% |  | 45.66% | 1.2096 | 9.7281 | 3389.0272 | 8.832 | 10.6829 | 4.1512e-05 | 2.8285e-05
| 32 | 40.5559 | 33.2825 | 22.697 | 31.7239 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.5513 | 75 | 1.5991 | 1 | Countercurrent | 4.178 | 4.1787 | 36.9192 | 993.3539 | 27.2104 | 996.4637 | 7.2734 | 9.0269 | 0.042239 | 0.026558 | 1283.5667 | 1001.7769 | 281.7898 | 78.05% | 40.73% |  | 50.55% |  | 45.64% | 1.1985 | 9.6823 | 3488.6438 | 8.832 | 10.5854 | 4.253e-05 | 2.6657e-05
| 33 | 40.491 | 33.1201 | 22.697 | 31.6589 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.5024 | 75 | 1.7578 | 1 | Countercurrent | 4.178 | 4.1787 | 36.8055 | 993.3948 | 27.178 | 996.4727 | 7.3708 | 8.9619 | 0.041432 | 0.029194 | 1275.9131 | 1093.2795 | 182.6336 | 85.69% | 41.42% |  | 50.36% |  | 45.89% | 1.1801 | 9.6056 | 3495.5255 | 8.832 | 10.4231 | 4.1716e-05 | 2.9303e-05
| 34 | 40.3611 | 33.1526 | 22.697 | 31.6265 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4902 | 75 | 1.7334 | 1 | Countercurrent | 4.178 | 4.1787 | 36.7568 | 993.4123 | 27.1617 | 996.4772 | 7.2085 | 8.9294 | 0.04123 | 0.028788 | 1241.7435 | 1074.1947 | 167.5488 | 86.51% | 40.81% |  | 50.55% |  | 45.68% | 1.197 | 9.5693 | 3414.817 | 8.7346 | 10.4556 | 4.1512e-05 | 2.8896e-05
| 35 | 40.1663 | 33.1201 | 22.6646 | 31.5615 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4536 | 75 | 1.7944 | 1 | Countercurrent | 4.178 | 4.1787 | 36.6432 | 993.453 | 27.113 | 996.4907 | 7.0461 | 8.897 | 0.040626 | 0.029802 | 1195.974 | 1107.9928 | 87.9813 | 92.64% | 40.26% |  | 50.83% |  | 45.55% | 1.2151 | 9.5001 | 3312.905 | 8.6047 | 10.4556 | 4.0902e-05 | 2.9913e-05
| 36 | 39.9065 | 32.8928 | 22.6646 | 31.3667 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4902 | 75 | 1.6846 | 1 | Countercurrent | 4.178 | 4.1788 | 36.3997 | 993.54 | 27.0156 | 996.5176 | 7.0137 | 8.7021 | 0.041236 | 0.027978 | 1208.3332 | 1017.4124 | 190.9208 | 84.2% | 40.68% |  | 50.47% |  | 45.57% | 1.1977 | 9.3587 | 3397.7341 | 8.5398 | 10.2283 | 4.1512e-05 | 2.8082e-05
| 37 | 39.7441 | 32.8279 | 22.697 | 31.3018 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4536 | 75 | 1.7944 | 1 | Countercurrent | 4.178 | 4.1788 | 36.286 | 993.5804 | 26.9994 | 996.5221 | 6.9163 | 8.6047 | 0.040631 | 0.029803 | 1174.0744 | 1071.6394 | 102.4349 | 91.28% | 40.57% |  | 50.48% |  | 45.52% | 1.2 | 9.261 | 3336.2224 | 8.4424 | 10.1309 | 4.0902e-05 | 2.9913e-05
| 38 | 39.7441 | 32.8279 | 22.6646 | 31.3018 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4292 | 75 | 1.77 | 1 | Countercurrent | 4.178 | 4.1788 | 36.286 | 993.5804 | 26.9832 | 996.5266 | 6.9163 | 8.6372 | 0.040227 | 0.029398 | 1162.392 | 1061.054 | 101.3381 | 91.28% | 40.49% |  | 50.57% |  | 45.53% | 1.2038 | 9.2763 | 3297.5839 | 8.4424 | 10.1633 | 4.0495e-05 | 2.9506e-05
| 39 | 39.7441 | 32.8604 | 22.697 | 31.3667 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4536 | 75 | 1.7334 | 1 | Countercurrent | 4.178 | 4.1788 | 36.3022 | 993.5747 | 27.0319 | 996.5131 | 6.8838 | 8.6697 | 0.040631 | 0.028789 | 1168.5557 | 1042.9906 | 125.5651 | 89.25% | 40.38% |  | 50.86% |  | 45.62% | 1.2132 | 9.2416 | 3327.4885 | 8.3774 | 10.1633 | 4.0902e-05 | 2.8896e-05
| average | 43.8671 | 35.323 | 22.703 | 33.5824 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41.4737 | 2.4832 | 75 | 1.7398 | 1 | Countercurrent | 4.1783 | 4.1785 | 39.595 | 992.3343 | 28.1427 | 996.1961 | 8.5441 | 10.8794 | 0.041069 | 0.028887 | 1465.6757 | 1314.3487 | 151.3269 | 89.32% | 40.42% | #DIV/0! | 51.29% | #DIV/0! | 45.86% | 1.2236 | 11.412 | 3382.9218 | 10.2847 | 12.62 | 4.1394e-05 | 2.9003e-05
[33 empty] | 0 |  | 0 |  | 0
[33 empty] | 0 |  | 0 |  | 0
[33 empty] | 0 |  | 0 |  | 0
[33 empty] | 0 |  | 0 |  | 0
[33 empty] | 0 |  | 0 |  | 0
[33 empty] | 0 |  | 0 |  | 0

## Run 3 (50%)
Hints used | Sample Number | Temp T1 [°C] | Temp T2 [°C] | Temp T3 [°C] | Temp T4 [°C] | Temp T5 [°C] | Temp T6 [°C] | Temp T7 [°C] | Temp T8 [°C] | Temp T9 [°C] | Temp T10 [°C] | Hot Water Pump Setting [%] | Hot Water Flowrate Fhot [l/min] | Cold Water Valve Setting [%] | Cold Water Flowrate Fcold [l/min] |  | Flow Orientation | Specific Heat Hot Fluid Cph [kJ/kg K] | Specific Heat Cold Fluid Cpc [kJ/kg K] | Hot Fluid Average Temperature [%] | Density Hot Fluid [kg/m³] | Cold Fluid Average Temperature [%] | Density Cold Fluid [kg/m³] | Thot [°C] | Tcold [°C] | Hot Mass Flow Rate qmh [kg/s] | Cold Mass Flow Rate qmc [kg/s] | Heat Power emitted Qe [W] | Heat Power absorbed Qa [W] | Heat Power lost Qf [W] | Overall Efficiency [%] | Temp Efficiency for hot fluid [%] |  | Temp Efficiency for cold fluid [%] |  | Mean Temp Efficiency [%] |  | LMTD ΔTlm | Overall Heat Transfer Coefficient U | ΔT1 | ΔT2 | Hot Fluid Volume Vdot Hot | Cold Fluid Volume Vdot Cold
| 2 | 51.4661 | 42.3093 | 23.249 | 41.4651 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4414 | 50 | 1.1475 | 1 | Countercurrent | 4.1796 | 4.178 | 46.8877 | 989.4002 | 32.3571 | 994.9145 | 9.1567 | 18.2161 | 0.040259 | 0.019027 | 1540.7536 | 1448.0915 | 92.662 | 93.99% | 32.45% |  | 64.56% |  | 48.5% | 1.9058 | 14.0471 | 2886.4426 | 10.001 | 19.0603 | 4.0698e-05 | 1.9128e-05
| 3 | 51.5959 | 42.2444 | 23.0542 | 41.3677 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4292 | 50 | 1.123 | 1 | Countercurrent | 4.1796 | 4.178 | 46.9202 | 989.3862 | 32.2109 | 994.9616 | 9.3516 | 18.3135 | 0.040057 | 0.018623 | 1565.6487 | 1424.9307 | 140.7181 | 91.01% | 32.76% |  | 64.16% |  | 48.46% | 1.8762 | 14.2424 | 2892.868 | 10.2283 | 19.1902 | 4.0495e-05 | 1.8721e-05
| 4 | 51.1738 | 42.0496 | 22.9893 | 41.1404 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.5269 | 50 | 1.123 | 1 | Countercurrent | 4.1795 | 4.178 | 46.6117 | 989.5189 | 32.0648 | 995.0086 | 9.1243 | 18.1511 | 0.041673 | 0.018624 | 1589.1901 | 1412.3682 | 176.8219 | 88.87% | 32.37% |  | 64.4% |  | 48.39% | 1.8997 | 14.0675 | 2972.8751 | 10.0334 | 19.0603 | 4.2123e-05 | 1.8721e-05
| 5 | 50.9141 | 41.7573 | 23.0217 | 40.7832 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.6123 | 50 | 1.1597 | 1 | Countercurrent | 4.1794 | 4.178 | 46.3357 | 989.6372 | 31.9025 | 995.0606 | 9.1567 | 17.7615 | 0.043087 | 0.019232 | 1648.9485 | 1427.1942 | 221.7543 | 86.55% | 32.83% |  | 63.68% |  | 48.25% | 1.8494 | 13.9951 | 3100.6117 | 10.1309 | 18.7356 | 4.3547e-05 | 1.9332e-05
| 6 | 50.6543 | 41.53 | 23.0217 | 40.5884 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.5513 | 50 | 1.062 | 1 | Countercurrent | 4.1794 | 4.178 | 46.0922 | 989.7411 | 31.8051 | 995.0917 | 9.1243 | 17.5667 | 0.042085 | 0.017613 | 1604.8574 | 1292.7155 | 312.1419 | 80.55% | 33.02% |  | 63.57% |  | 48.3% | 1.8387 | 13.8612 | 3046.8479 | 10.0659 | 18.5083 | 4.253e-05 | 1.7704e-05
| 7 | 50.1672 | 41.2703 | 22.9893 | 40.3286 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.478 | 50 | 1.1597 | 1 | Countercurrent | 4.1793 | 4.1781 | 45.7188 | 989.8997 | 31.6589 | 995.1382 | 8.897 | 17.3394 | 0.040883 | 0.019234 | 1520.1662 | 1393.3902 | 126.776 | 91.66% | 32.74% |  | 63.8% |  | 48.27% | 1.8581 | 13.6267 | 2935.7331 | 9.8386 | 18.281 | 4.1309e-05 | 1.9332e-05
| 8 | 49.9075 | 40.978 | 23.0217 | 40.0688 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.5269 | 50 | 1.2085 | 1 | Countercurrent | 4.1792 | 4.1781 | 45.4427 | 990.0163 | 31.5453 | 995.1742 | 8.9294 | 17.0471 | 0.041694 | 0.020044 | 1555.9377 | 1427.6411 | 128.2966 | 91.75% | 33.21% |  | 63.41% |  | 48.31% | 1.8251 | 13.4929 | 3034.6103 | 9.8386 | 17.9563 | 4.2123e-05 | 2.0146e-05
| 9 | 49.5503 | 40.6858 | 22.9568 | 39.7766 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.5269 | 50 | 1.1353 | 1 | Countercurrent | 4.1792 | 4.1781 | 45.118 | 990.1529 | 31.3667 | 995.2306 | 8.8645 | 16.8198 | 0.0417 | 0.018831 | 1544.8085 | 1323.3156 | 221.4929 | 85.66% | 33.33% |  | 63.25% |  | 48.29% | 1.814 | 13.3589 | 3043.1362 | 9.7737 | 17.729 | 4.2123e-05 | 1.8925e-05
| 10 | 49.0957 | 40.426 | 22.9243 | 39.5493 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.5879 | 50 | 1.123 | 1 | Countercurrent | 4.1791 | 4.1781 | 44.7609 | 990.3022 | 31.2368 | 995.2714 | 8.6697 | 16.625 | 0.042713 | 0.018629 | 1547.5559 | 1293.9799 | 253.576 | 83.61% | 33.13% |  | 63.52% |  | 48.33% | 1.8333 | 13.1247 | 3102.9509 | 9.5464 | 17.5017 | 4.314e-05 | 1.8721e-05
| 11 | 48.6736 | 40.1338 | 22.8918 | 39.1921 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.5269 | 50 | 1.123 | 1 | Countercurrent | 4.179 | 4.1781 | 44.4037 | 990.4507 | 31.042 | 995.3324 | 8.5398 | 16.3003 | 0.041712 | 0.01863 | 1488.6161 | 1268.7901 | 219.8261 | 85.23% | 33.12% |  | 63.22% |  | 48.17% | 1.8185 | 12.9772 | 3018.6773 | 9.4814 | 17.2419 | 4.2123e-05 | 1.8721e-05
| 12 | 48.4463 | 40.0039 | 22.9568 | 39.0623 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.5391 | 50 | 1.1353 | 1 | Countercurrent | 4.179 | 4.1781 | 44.2251 | 990.5246 | 31.0095 | 995.3426 | 8.4424 | 16.1055 | 0.041917 | 0.018833 | 1478.8426 | 1267.2655 | 211.5772 | 85.69% | 33.12% |  | 63.18% |  | 48.15% | 1.8166 | 12.8366 | 3031.7146 | 9.384 | 17.0471 | 4.2326e-05 | 1.8925e-05
| 13 | 48.1216 | 39.8416 | 22.8594 | 38.9648 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.5024 | 50 | 1.1475 | 1 | Countercurrent | 4.1789 | 4.1781 | 43.9816 | 990.6251 | 30.9121 | 995.3729 | 8.28 | 16.1055 | 0.041316 | 0.019036 | 1429.6124 | 1280.934 | 148.6785 | 89.6% | 32.78% |  | 63.75% |  | 48.26% | 1.8546 | 12.6692 | 2969.5154 | 9.1567 | 16.9822 | 4.1716e-05 | 1.9128e-05
| 14 | 47.7969 | 39.6143 | 22.8594 | 38.8025 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.6001 | 50 | 1.123 | 1 | Countercurrent | 4.1789 | 4.1781 | 43.7056 | 990.7384 | 30.8309 | 995.3981 | 8.1826 | 15.9431 | 0.042934 | 0.018631 | 1468.076 | 1241.0761 | 226.9999 | 84.54% | 32.81% |  | 63.93% |  | 48.37% | 1.8628 | 12.4749 | 3096.9062 | 8.9944 | 16.7549 | 4.3344e-05 | 1.8721e-05
| 15 | 47.6345 | 39.4194 | 22.8269 | 38.5427 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.4902 | 50 | 1.0254 | 1 | Countercurrent | 4.1788 | 4.1781 | 43.527 | 990.8115 | 30.6848 | 995.4434 | 8.2151 | 15.7158 | 0.041123 | 0.017012 | 1411.7168 | 1117.0563 | 294.6605 | 79.13% | 33.12% |  | 63.35% |  | 48.23% | 1.825 | 12.4684 | 2979.5706 | 9.0918 | 16.5925 | 4.1512e-05 | 1.7093e-05
| 16 | 47.3098 | 39.1597 | 22.8269 | 38.3154 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 40 | 2.4536 | 50 | 1.1353 | 1 | Countercurrent | 4.1788 | 4.1782 | 43.2347 | 990.9306 | 30.5712 | 995.4785 | 8.1501 | 15.4885 | 0.040523 | 0.018835 | 1380.1084 | 1218.9007 | 161.2077 | 88.32% | 33.29% |  | 63.26% |  | 48.28% | 1.8159 | 12.3009 | 2952.5198 | 8.9944 | 16.3328 | 4.0902e-05 | 1.8925e-05
| 17 | 47.05 | 38.9648 | 22.7944 | 38.1206 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 40 | 2.4902 | 50 | 1.1475 | 1 | Countercurrent | 4.1787 | 4.1782 | 43.0074 | 991.0228 | 30.4575 | 995.5134 | 8.0852 | 15.3262 | 0.041131 | 0.019039 | 1389.6616 | 1219.1396 | 170.522 | 87.73% | 33.33% |  | 63.19% |  | 48.26% | 1.8109 | 12.1937 | 2999.0955 | 8.9294 | 16.1704 | 4.1512e-05 | 1.9128e-05
| 18 | 46.8552 | 38.8999 | 22.8269 | 38.0881 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.5269 | 50 | 1.123 | 1 | Countercurrent | 4.1787 | 4.1782 | 42.8776 | 991.0753 | 30.4575 | 995.5134 | 7.9553 | 15.2612 | 0.041738 | 0.018633 | 1387.5115 | 1188.1445 | 199.367 | 85.63% | 33.11% |  | 63.51% |  | 48.31% | 1.8333 | 12.0533 | 3029.3449 | 8.7671 | 16.073 | 4.2123e-05 | 1.8721e-05
| 19 | 46.5305 | 38.7051 | 22.8594 | 37.8608 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.4902 | 50 | 1.0986 | 1 | Countercurrent | 4.1787 | 4.1782 | 42.6178 | 991.18 | 30.3601 | 995.5433 | 7.8254 | 15.0015 | 0.041138 | 0.018229 | 1345.2052 | 1142.5686 | 202.6366 | 84.94% | 33.06% |  | 63.37% |  | 48.22% | 1.8277 | 11.8992 | 2974.9958 | 8.6697 | 15.8457 | 4.1512e-05 | 1.8314e-05
| 20 | 46.3682 | 38.6077 | 22.7944 | 37.7634 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.5146 | 50 | 1.1475 | 1 | Countercurrent | 4.1787 | 4.1782 | 42.4879 | 991.2322 | 30.2789 | 995.5681 | 7.7605 | 14.969 | 0.041543 | 0.01904 | 1347.1843 | 1190.7989 | 156.3854 | 88.39% | 32.92% |  | 63.5% |  | 48.21% | 1.8377 | 11.8457 | 2992.8421 | 8.6047 | 15.8132 | 4.1919e-05 | 1.9128e-05
| 21 | 46.0759 | 38.283 | 22.8269 | 37.5361 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.4536 | 50 | 1.0864 | 1 | Countercurrent | 4.1786 | 4.1782 | 42.1794 | 991.3556 | 30.1815 | 995.5979 | 7.793 | 14.7092 | 0.04054 | 0.018027 | 1320.1337 | 1107.9293 | 212.2044 | 83.93% | 33.52% |  | 63.27% |  | 48.39% | 1.8099 | 11.658 | 2979.9631 | 8.5398 | 15.4561 | 4.0902e-05 | 1.8111e-05
| 22 | 45.9785 | 38.283 | 22.8594 | 37.4387 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.4902 | 50 | 1.062 | 1 | Countercurrent | 4.1786 | 4.1782 | 42.1307 | 991.375 | 30.149 | 995.6078 | 7.6956 | 14.5793 | 0.041146 | 0.017622 | 1323.1126 | 1073.4805 | 249.6321 | 81.13% | 33.29% |  | 63.06% |  | 48.17% | 1.8061 | 11.6445 | 2990.1383 | 8.5398 | 15.4236 | 4.1512e-05 | 1.7704e-05
| 23 | 45.8162 | 38.218 | 22.8594 | 37.4387 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.3438 | 50 | 1.1963 | 1 | Countercurrent | 4.1786 | 4.1782 | 42.0171 | 991.4203 | 30.149 | 995.6078 | 7.5981 | 14.5793 | 0.038727 | 0.019851 | 1229.5701 | 1209.2079 | 20.3622 | 98.34% | 33.1% |  | 63.51% |  | 48.3% | 1.8333 | 11.5176 | 2809.3736 | 8.3774 | 15.3586 | 3.907e-05 | 1.9942e-05
| 24 | 45.5889 | 38.1855 | 22.8594 | 37.3413 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.4658 | 50 | 1.1719 | 1 | Countercurrent | 4.1786 | 4.1782 | 41.8872 | 991.4719 | 30.1003 | 995.6226 | 7.4033 | 14.4819 | 0.040747 | 0.019446 | 1260.5001 | 1176.635 | 83.8652 | 93.35% | 32.57% |  | 63.71% |  | 48.14% | 1.8583 | 11.4237 | 2903.7142 | 8.2476 | 15.3262 | 4.1105e-05 | 1.9535e-05
| 25 | 45.459 | 37.7959 | 22.8918 | 37.0815 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.4658 | 50 | 1.123 | 1 | Countercurrent | 4.1785 | 4.1782 | 41.6274 | 991.5748 | 29.9867 | 995.6571 | 7.6631 | 14.1897 | 0.040751 | 0.018636 | 1304.8509 | 1104.8962 | 199.9548 | 84.68% | 33.96% |  | 62.88% |  | 48.42% | 1.7791 | 11.3291 | 3030.9611 | 8.3774 | 14.9041 | 4.1105e-05 | 1.8721e-05
| 26 | 45.1992 | 37.8933 | 22.8918 | 37.0491 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.5269 | 50 | 1.1841 | 1 | Countercurrent | 4.1785 | 4.1782 | 41.5463 | 991.6068 | 29.9705 | 995.662 | 7.3059 | 14.1572 | 0.041761 | 0.019649 | 1274.8619 | 1162.2854 | 112.5765 | 91.17% | 32.75% |  | 63.46% |  | 48.11% | 1.8406 | 11.2296 | 2987.5483 | 8.1501 | 15.0015 | 4.2123e-05 | 1.9739e-05
| 27 | 45.1018 | 37.8608 | 22.8918 | 37.0491 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.5269 | 50 | 1.1353 | 1 | Countercurrent | 4.1785 | 4.1782 | 41.4813 | 991.6324 | 29.9705 | 995.662 | 7.241 | 14.1572 | 0.041762 | 0.018839 | 1263.5595 | 1114.3561 | 149.2033 | 88.19% | 32.6% |  | 63.74% |  | 48.17% | 1.8589 | 11.1558 | 2980.6499 | 8.0527 | 14.969 | 4.2123e-05 | 1.8925e-05
| 28 | 44.9395 | 37.7634 | 22.8918 | 37.0166 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.4292 | 50 | 1.0986 | 1 | Countercurrent | 4.1785 | 4.1782 | 41.3514 | 991.6836 | 29.9542 | 995.6669 | 7.176 | 14.1248 | 0.04015 | 0.018231 | 1203.8883 | 1075.9416 | 127.9467 | 89.37% | 32.55% |  | 64.06% |  | 48.31% | 1.877 | 11.035 | 2870.9888 | 7.9229 | 14.8716 | 4.0495e-05 | 1.8314e-05
| 29 | 44.7771 | 37.731 | 22.9243 | 36.8867 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.5635 | 50 | 1.1475 | 1 | Countercurrent | 4.1785 | 4.1782 | 41.254 | 991.7218 | 29.9055 | 995.6816 | 7.0461 | 13.9624 | 0.042371 | 0.019042 | 1247.4845 | 1110.8626 | 136.6219 | 89.05% | 32.24% |  | 63.89% |  | 48.07% | 1.8765 | 10.9881 | 2987.6425 | 7.8904 | 14.8066 | 4.2733e-05 | 1.9128e-05
| 30 | 44.6147 | 37.6335 | 22.9243 | 36.8218 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4902 | 50 | 1.1597 | 1 | Countercurrent | 4.1784 | 4.1782 | 41.1241 | 991.7727 | 29.873 | 995.6914 | 6.9812 | 13.8975 | 0.041162 | 0.019245 | 1200.7292 | 1117.4707 | 83.2586 | 93.07% | 32.19% |  | 64.07% |  | 48.13% | 1.8875 | 10.8874 | 2902.2649 | 7.793 | 14.7092 | 4.1512e-05 | 1.9332e-05
| 31 | 44.5173 | 37.5037 | 22.9243 | 36.627 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.5879 | 50 | 1.1719 | 1 | Countercurrent | 4.1784 | 4.1783 | 41.0105 | 991.8172 | 29.7756 | 995.7208 | 7.0137 | 13.7026 | 0.042779 | 0.019448 | 1253.6718 | 1113.4395 | 140.2323 | 88.81% | 32.48% |  | 63.46% |  | 47.97% | 1.8477 | 10.8948 | 3028.1852 | 7.8904 | 14.5793 | 4.314e-05 | 1.9535e-05
| 32 | 44.5498 | 37.4062 | 22.9243 | 36.562 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4902 | 50 | 1.0254 | 1 | Countercurrent | 4.1784 | 4.1783 | 40.978 | 991.8299 | 29.7432 | 995.7306 | 7.1436 | 13.6377 | 0.041165 | 0.017017 | 1228.7178 | 969.6527 | 259.0651 | 78.92% | 33.03% |  | 63.06% |  | 48.05% | 1.813 | 10.9148 | 2962.4747 | 7.9878 | 14.4819 | 4.1512e-05 | 1.7093e-05
| 33 | 44.355 | 37.3413 | 22.9243 | 36.4321 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.478 | 50 | 1.1597 | 1 | Countercurrent | 4.1784 | 4.1783 | 40.8481 | 991.8805 | 29.6782 | 995.7501 | 7.0137 | 13.5078 | 0.040965 | 0.019246 | 1200.52 | 1086.2106 | 114.3094 | 90.48% | 32.73% |  | 63.03% |  | 47.88% | 1.8197 | 10.8479 | 2912.3374 | 7.9229 | 14.417 | 4.1309e-05 | 1.9332e-05
| 34 | 44.1926 | 37.2439 | 22.9243 | 36.3347 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.5146 | 50 | 1.1475 | 1 | Countercurrent | 4.1784 | 4.1783 | 40.7183 | 991.931 | 29.6295 | 995.7647 | 6.9487 | 13.4104 | 0.041573 | 0.019043 | 1207.0378 | 1067.0434 | 139.9944 | 88.4% | 32.67% |  | 63.05% |  | 47.86% | 1.8223 | 10.7675 | 2949.9952 | 7.8579 | 14.3196 | 4.1919e-05 | 1.9128e-05
| 35 | 44.1926 | 37.0491 | 22.8918 | 36.2048 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.5146 | 50 | 1.123 | 1 | Countercurrent | 4.1784 | 4.1783 | 40.6208 | 991.9689 | 29.5483 | 995.789 | 7.1436 | 13.313 | 0.041574 | 0.018639 | 1240.9234 | 1036.7825 | 204.1409 | 83.55% | 33.54% |  | 62.5% |  | 48.02% | 1.7724 | 10.7799 | 3029.3396 | 7.9878 | 14.1572 | 4.1919e-05 | 1.8721e-05
| 36 | 43.9653 | 37.0166 | 22.9243 | 36.1399 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4902 | 50 | 1.0986 | 1 | Countercurrent | 4.1783 | 4.1783 | 40.491 | 992.0192 | 29.5321 | 995.7939 | 6.9487 | 13.2156 | 0.041173 | 0.018234 | 1195.4165 | 1006.828 | 188.5886 | 84.22% | 33.02% |  | 62.81% |  | 47.92% | 1.8008 | 10.6534 | 2952.8869 | 7.8254 | 14.0923 | 4.1512e-05 | 1.8314e-05
| 37 | 43.9329 | 36.9517 | 22.9243 | 36.075 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4902 | 50 | 1.2085 | 1 | Countercurrent | 4.1783 | 4.1783 | 40.4423 | 992.038 | 29.4996 | 995.8036 | 6.9812 | 13.1506 | 0.041173 | 0.020057 | 1201.0236 | 1102.0804 | 98.9431 | 91.76% | 33.23% |  | 62.6% |  | 47.91% | 1.7851 | 10.6464 | 2968.7045 | 7.8579 | 14.0273 | 4.1512e-05 | 2.0146e-05
| 38 | 43.6731 | 36.8867 | 22.9243 | 36.0425 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.417 | 50 | 1.0986 | 1 | Countercurrent | 4.1783 | 4.1783 | 40.2799 | 992.1007 | 29.4834 | 995.8084 | 6.7864 | 13.1182 | 0.039965 | 0.018234 | 1133.2341 | 999.4229 | 133.8112 | 88.19% | 32.71% |  | 63.22% |  | 47.97% | 1.8298 | 10.4796 | 2845.7073 | 7.6306 | 13.9624 | 4.0291e-05 | 1.8314e-05
| 39 | 43.6731 | 36.8218 | 22.9243 | 35.9451 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4902 | 50 | 1.0864 | 1 | Countercurrent | 4.1783 | 4.1783 | 40.2474 | 992.1132 | 29.4347 | 995.823 | 6.8513 | 13.0208 | 0.041177 | 0.018031 | 1178.7612 | 980.9952 | 197.766 | 83.22% | 33.02% |  | 62.75% |  | 47.89% | 1.7983 | 10.5127 | 2950.7058 | 7.728 | 13.8975 | 4.1512e-05 | 1.8111e-05
| 40 | 43.5432 | 36.8542 | 22.9243 | 36.01 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.5513 | 50 | 1.1353 | 1 | Countercurrent | 4.1783 | 4.1783 | 40.1987 | 992.1319 | 29.4672 | 995.8133 | 6.689 | 13.0857 | 0.042187 | 0.018842 | 1179.0556 | 1030.1863 | 148.8693 | 87.37% | 32.44% |  | 63.46% |  | 47.95% | 1.8491 | 10.4059 | 2981.7401 | 7.5332 | 13.9299 | 4.253e-05 | 1.8925e-05
| 41 | 43.5107 | 36.7568 | 22.9243 | 36.01 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.5513 | 50 | 1.0864 | 1 | Countercurrent | 4.1783 | 4.1783 | 40.1338 | 992.1569 | 29.4672 | 995.8133 | 6.7539 | 13.0857 | 0.042188 | 0.018031 | 1190.5304 | 985.8772 | 204.6532 | 82.81% | 32.81% |  | 63.56% |  | 48.19% | 1.8442 | 10.3457 | 3028.2893 | 7.5007 | 13.8325 | 4.253e-05 | 1.8111e-05
| 42 | 43.4783 | 36.7893 | 22.9568 | 35.9451 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.5513 | 50 | 1.0986 | 1 | Countercurrent | 4.1783 | 4.1783 | 40.1338 | 992.1569 | 29.4509 | 995.8181 | 6.689 | 12.9883 | 0.042188 | 0.018234 | 1179.083 | 989.5384 | 189.5446 | 83.92% | 32.59% |  | 63.29% |  | 47.94% | 1.8362 | 10.3658 | 2993.3535 | 7.5332 | 13.8325 | 4.253e-05 | 1.8314e-05
| 43 | 43.3809 | 36.7244 | 22.9568 | 35.9126 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.5146 | 50 | 1.1475 | 1 | Countercurrent | 4.1783 | 4.1783 | 40.0526 | 992.1881 | 29.4347 | 995.823 | 6.6565 | 12.9558 | 0.041583 | 0.019044 | 1156.5504 | 1030.9397 | 125.6107 | 89.14% | 32.59% |  | 63.43% |  | 48.01% | 1.8435 | 10.2988 | 2955.2448 | 7.4683 | 13.7676 | 4.1919e-05 | 1.9128e-05
| 44 | 43.3809 | 36.6594 | 22.9568 | 35.8801 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 42 | 2.4902 | 50 | 1.0986 | 1 | Countercurrent | 4.1783 | 4.1783 | 40.0201 | 992.2006 | 29.4185 | 995.8278 | 6.7214 | 12.9233 | 0.04118 | 0.018234 | 1156.509 | 984.6014 | 171.9076 | 85.14% | 32.91% |  | 63.28% |  | 48.09% | 1.8268 | 10.2921 | 2957.0629 | 7.5007 | 13.7026 | 4.1512e-05 | 1.8314e-05
| 45 | 43.186 | 36.5295 | 22.9243 | 35.7827 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.5513 | 50 | 1.123 | 1 | Countercurrent | 4.1783 | 4.1783 | 39.8578 | 992.2627 | 29.3535 | 995.8471 | 6.6565 | 12.8584 | 0.042192 | 0.01864 | 1173.475 | 1001.4455 | 172.0295 | 85.34% | 32.85% |  | 63.46% |  | 48.16% | 1.8377 | 10.1917 | 3030.0083 | 7.4033 | 13.6052 | 4.253e-05 | 1.8721e-05
| 46 | 43.1211 | 36.562 | 22.9568 | 35.7827 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.5513 | 50 | 1.123 | 1 | Countercurrent | 4.1783 | 4.1783 | 39.8416 | 992.2689 | 29.3698 | 995.8423 | 6.5591 | 12.8259 | 0.042192 | 0.01864 | 1156.3089 | 998.9112 | 157.3977 | 86.39% | 32.53% |  | 63.61% |  | 48.07% | 1.854 | 10.1514 | 2997.525 | 7.3384 | 13.6052 | 4.253e-05 | 1.8721e-05
| 47 | 43.1536 | 36.4646 | 22.7944 | 35.7178 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.4414 | 50 | 1.0864 | 1 | Countercurrent | 4.1783 | 4.1783 | 39.8091 | 992.2813 | 29.2561 | 995.8761 | 6.689 | 12.9233 | 0.040376 | 0.018032 | 1128.44 | 973.7143 | 154.7257 | 86.29% | 32.85% |  | 63.48% |  | 48.17% | 1.8384 | 10.2386 | 2900.3849 | 7.4358 | 13.6702 | 4.0698e-05 | 1.8111e-05
| 48 | 42.8938 | 36.4321 | 22.9568 | 35.6853 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.417 | 50 | 1.0498 | 1 | Countercurrent | 4.1782 | 4.1783 | 39.663 | 992.3371 | 29.321 | 995.8568 | 6.4617 | 12.7285 | 0.039975 | 0.017424 | 1079.2502 | 926.688 | 152.5622 | 85.86% | 32.41% |  | 63.84% |  | 48.13% | 1.8694 | 10.0173 | 2835.222 | 7.2085 | 13.4753 | 4.0291e-05 | 1.75e-05
| 49 | 42.9587 | 36.3022 | 22.9243 | 35.5554 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.4536 | 50 | 1.0742 | 1 | Countercurrent | 4.1782 | 4.1783 | 39.6305 | 992.3494 | 29.2399 | 995.8809 | 6.6565 | 12.6311 | 0.040581 | 0.01783 | 1128.6488 | 941.0075 | 187.6413 | 83.37% | 33.23% |  | 63.05% |  | 48.14% | 1.807 | 10.0977 | 2941.3785 | 7.4033 | 13.3779 | 4.0902e-05 | 1.7907e-05
| 50 | 43.0562 | 36.3997 | 22.9568 | 35.5879 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.6245 | 50 | 1.1353 | 1 | Countercurrent | 4.1783 | 4.1783 | 39.7279 | 992.3123 | 29.2723 | 995.8713 | 6.6565 | 12.6311 | 0.043406 | 0.018843 | 1207.2192 | 994.463 | 212.7562 | 82.38% | 33.12% |  | 62.84% |  | 47.98% | 1.8 | 10.1646 | 3125.4514 | 7.4683 | 13.4429 | 4.3751e-05 | 1.8925e-05
| 51 | 43.0562 | 36.3022 | 22.9243 | 35.5554 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 40 | 2.4536 | 50 | 1.0864 | 1 | Countercurrent | 4.1782 | 4.1783 | 39.6792 | 992.3309 | 29.2399 | 995.8809 | 6.7539 | 12.6311 | 0.04058 | 0.018033 | 1145.1457 | 951.7008 | 193.4449 | 83.11% | 33.55% |  | 62.74% |  | 48.15% | 1.7835 | 10.1575 | 2966.8087 | 7.5007 | 13.3779 | 4.0902e-05 | 1.8111e-05
| 52 | 42.9912 | 36.3672 | 22.9568 | 35.5879 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.5269 | 50 | 1.123 | 1 | Countercurrent | 4.1782 | 4.1783 | 39.6792 | 992.3309 | 29.2723 | 995.8713 | 6.624 | 12.6311 | 0.041791 | 0.01864 | 1156.6497 | 983.7699 | 172.8799 | 85.05% | 33.06% |  | 63.05% |  | 48.06% | 1.8114 | 10.1112 | 3010.342 | 7.4033 | 13.4104 | 4.2123e-05 | 1.8721e-05
| 53 | 42.9912 | 36.3022 | 22.9243 | 35.5554 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.5513 | 50 | 1.0742 | 1 | Countercurrent | 4.1782 | 4.1783 | 39.6467 | 992.3432 | 29.2399 | 995.8809 | 6.689 | 12.6311 | 0.042196 | 0.01783 | 1179.288 | 941.0075 | 238.2805 | 79.79% | 33.33% |  | 62.94% |  | 48.14% | 1.7991 | 10.1177 | 3067.2876 | 7.4358 | 13.3779 | 4.253e-05 | 1.7907e-05
| 54 | 42.9912 | 36.3022 | 22.9568 | 35.5879 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41 | 2.4536 | 50 | 1.123 | 1 | Countercurrent | 4.1782 | 4.1783 | 39.6467 | 992.3432 | 29.2723 | 995.8713 | 6.689 | 12.6311 | 0.04058 | 0.01864 | 1134.1478 | 983.7699 | 150.3779 | 86.74% | 33.39% |  | 63.05% |  | 48.22% | 1.8026 | 10.0843 | 2959.655 | 7.4033 | 13.3455 | 4.0902e-05 | 1.8721e-05
| average | 45.8039 | 38.2683 | 22.9213 | 37.4332 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 132.9675 | 41.3396 | 2.5043 | 50 | 1.1226 | 1 | Countercurrent | 4.1786 | 4.1782 | 42.0361 | 991.3954 | 30.1772 | 995.5957 | 7.5357 | 14.512 | 0.041379 | 0.018627 | 1303.0698 | 1130.4046 | 172.6653 | 86.71% | 32.93% | #DIV/0! | 63.39% | #DIV/0! | 48.16% | 1.8325 | 11.5083 | 2978.3886 | 8.3707 | 15.347 | 4.1746e-05 | 1.8714e-05
[33 empty] | 0 |  | 0 |  | 0

## #4. Bar Graph
| emitted | Absorbed
50 | 1303.0698 | 1130.4046
75 | 1465.6757 | 1314.3487
100 | 1296.0289 | 1135.22

## #5a. Bar Graph
| Hot | Cold
50% | 7.5357 | 14.512
75% | 8.5441 | 10.8794
100% | 7.5259 | 8.0183

## #5b. Bar Graph
50% | 86.71%
75% | 89.32%
100% | 86.94%

## Table
Data Type | 100% | 75% | 50%
Qe [W] | 1296.0289 | 1465.6757 | 1303.0698
Qa [W] | 1135.22 | 1314.3487 | 1130.4046
Mdot Hot [kg/s] | 0.041207 | 0.041069 | 0.041379
Mdot Cold [kg/s] | 0.028887 | 0.028887 | 0.018627
Qf [W] | 160.8089 | 151.3269 | 172.6653
U [W/m2.K] | 3531.0769 | 3382.9218 | 2978.3886
Mean Temp Efficiency [%] | 44.48% | 45.86% | 48.16%
Vdot Hot [m3/min] | 4.1483e-05 | 4.1394e-05 | 4.1746e-05
Vdot Cold [m3/min] | 3.4012e-05 | 2.9003e-05 | 1.8714e-05